## S1 EPICS E-Panel Interface
Hall B RICH Hardware Interlock System EPICS Interface - S1 EP
PV # | Group # | Signal Category | LabVIEW_Signal_Name | Access Type | Data Type | EPICS Process Variable (PV) | Units
1 | 1 | Internal Status Monitoring | RICH EPICS S1 EP Humidity 1 | Read Only | Double | B_DET_RICH_INTLK_S1_EP_HUMID1 | %
2 | 2 |  | RICH EPICS S1 EP Humidity 2 | Read Only | Double | B_DET_RICH_INTLK_S1_EP_HUMID2 | %
3 | 3 |  | RICH EPICS S1 EP Humidity 3 | Read Only | Double | B_DET_RICH_INTLK_S1_EP_HUMID3 | %
4 | 4 |  | RICH EPICS S1 EP Humidity 4 | Read Only | Double | B_DET_RICH_INTLK_S1_EP_HUMID4 | %
5 | 5 |  | RICH EPICS S1 EP Humidity 5 | Read Only | Double | B_DET_RICH_INTLK_S1_EP_HUMID5 | %
6 | 6 |  | RICH EPICS S1 EP Humidity 6 | Read Only | Double | B_DET_RICH_INTLK_S1_EP_HUMID6 | %
7 | 7 |  | RICH EPICS S1 EP Humidity 7 | Read Only | Double | B_DET_RICH_INTLK_S1_EP_HUMID7 | %
8 | 8 |  | RICH EPICS S1 EP Humidity 8 | Read Only | Double | B_DET_RICH_INTLK_S1_EP_HUMID8 | %
9 | 9 |  | RICH EPICS S1 EP Humidity 9 | Read Only | Double | B_DET_RICH_INTLK_S1_EP_HUMID9 | %
10 | 10 |  | RICH EPICS S1 EP Humidity 10 | Read Only | Double | B_DET_RICH_INTLK_S1_EP_HUMID10 | %
11 | 11 |  | RICH EPICS S1 EP Humidity 11 | Read Only | Double | B_DET_RICH_INTLK_S1_EP_HUMID11 | %
12 | 12 |  | RICH EPICS S1 EP Humidity 12 | Read Only | Double | B_DET_RICH_INTLK_S1_EP_HUMID12 | %
13 | 13 |  | RICH EPICS S1 EP Humidity 13 | Read Only | Double | B_DET_RICH_INTLK_S1_EP_HUMID13 | %
14 | 14 |  | RICH EPICS S1 EP Humidity 14 | Read Only | Double | B_DET_RICH_INTLK_S1_EP_HUMID14 | %
15 | 15 |  | RICH EPICS S1 EP Humidity 15 | Read Only | Double | B_DET_RICH_INTLK_S1_EP_HUMID15 | %
16 | 16 |  | RICH EPICS S1 EP Humidity 16 | Read Only | Double | B_DET_RICH_INTLK_S1_EP_HUMID16 | %
17 | 17 |  | RICH EPICS S1 EP Temp 1 | Read Only | Double | B_DET_RICH_INTLK_S1_EP_TEMP1 | °C
18 | 18 |  | RICH EPICS S1 EP Temp 2 | Read Only | Double | B_DET_RICH_INTLK_S1_EP_TEMP2 | °C
19 | 19 |  | RICH EPICS S1 EP Temp 3 | Read Only | Double | B_DET_RICH_INTLK_S1_EP_TEMP3 | °C
20 | 20 |  | RICH EPICS S1 EP Temp 4 | Read Only | Double | B_DET_RICH_INTLK_S1_EP_TEMP4 | °C
21 | 21 |  | RICH EPICS S1 EP Temp 5 | Read Only | Double | B_DET_RICH_INTLK_S1_EP_TEMP5 | °C
22 | 22 |  | RICH EPICS S1 EP Temp 6 | Read Only | Double | B_DET_RICH_INTLK_S1_EP_TEMP6 | °C
23 | 23 |  | RICH EPICS S1 EP Temp 7 | Read Only | Double | B_DET_RICH_INTLK_S1_EP_TEMP7 | °C
24 | 24 |  | RICH EPICS S1 EP Temp 8 | Read Only | Double | B_DET_RICH_INTLK_S1_EP_TEMP8 | °C
25 | 25 |  | RICH EPICS S1 EP Temp 9 | Read Only | Double | B_DET_RICH_INTLK_S1_EP_TEMP9 | °C
26 | 26 |  | RICH EPICS S1 EP Temp 10 | Read Only | Double | B_DET_RICH_INTLK_S1_EP_TEMP10 | °C
27 | 27 |  | RICH EPICS S1 EP Temp 11 | Read Only | Double | B_DET_RICH_INTLK_S1_EP_TEMP11 | °C
28 | 28 |  | RICH EPICS S1 EP Temp 12 | Read Only | Double | B_DET_RICH_INTLK_S1_EP_TEMP12 | °C
29 | 29 |  | RICH EPICS S1 EP Temp 13 | Read Only | Double | B_DET_RICH_INTLK_S1_EP_TEMP13 | °C
30 | 30 |  | RICH EPICS S1 EP Temp 14 | Read Only | Double | B_DET_RICH_INTLK_S1_EP_TEMP14 | °C
31 | 31 |  | RICH EPICS S1 EP Temp 15 | Read Only | Double | B_DET_RICH_INTLK_S1_EP_TEMP15 | °C
32 | 32 |  | RICH EPICS S1 EP Temp 16 | Read Only | Double | B_DET_RICH_INTLK_S1_EP_TEMP16 | °C
33 | 1 | Individual Sensor Interlock Status | RICH EPICS S1 EP Humidity 1 Hi Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID1_HI_STAT | N/A
34 | 2 |  | RICH EPICS S1 EP Humidity 2 Hi Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID2_HI_STAT | N/A
35 | 3 |  | RICH EPICS S1 EP Humidity 3 Hi Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID3_HI_STAT | N/A
36 | 4 |  | RICH EPICS S1 EP Humidity 4 Hi Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID4_HI_STAT | N/A
37 | 5 |  | RICH EPICS S1 EP Humidity 5 Hi Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID5_HI_STAT | N/A
38 | 6 |  | RICH EPICS S1 EP Humidity 6 Hi Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID6_HI_STAT | N/A
39 | 7 |  | RICH EPICS S1 EP Humidity 7 Hi Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID7_HI_STAT | N/A
40 | 8 |  | RICH EPICS S1 EP Humidity 8 Hi Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID8_HI_STAT | N/A
41 | 9 |  | RICH EPICS S1 EP Humidity 9 Hi Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID9_HI_STAT | N/A
42 | 10 |  | RICH EPICS S1 EP Humidity 10 Hi Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID10_HI_STAT | N/A
43 | 11 |  | RICH EPICS S1 EP Humidity 11 Hi Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID11_HI_STAT | N/A
44 | 12 |  | RICH EPICS S1 EP Humidity 12 Hi Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID12_HI_STAT | N/A
45 | 13 |  | RICH EPICS S1 EP Humidity 13 Hi Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID13_HI_STAT | N/A
46 | 14 |  | RICH EPICS S1 EP Humidity 14 Hi Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID14_HI_STAT | N/A
47 | 15 |  | RICH EPICS S1 EP Humidity 15 Hi Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID15_HI_STAT | N/A
48 | 16 |  | RICH EPICS S1 EP Humidity 16 Hi Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID16_HI_STAT | N/A
49 | 17 |  | RICH EPICS S1 EP Temp 1 Hi Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP1_HI_STAT | N/A
50 | 18 |  | RICH EPICS S1 EP Temp 2 Hi Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP2_HI_STAT | N/A
51 | 19 |  | RICH EPICS S1 EP Temp 3 Hi Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP3_HI_STAT | N/A
52 | 20 |  | RICH EPICS S1 EP Temp 4 Hi Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP4_HI_STAT | N/A
53 | 21 |  | RICH EPICS S1 EP Temp 5 Hi Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP5_HI_STAT | N/A
54 | 22 |  | RICH EPICS S1 EP Temp 6 Hi Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP6_HI_STAT | N/A
55 | 23 |  | RICH EPICS S1 EP Temp 7 Hi Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP7_HI_STAT | N/A
56 | 24 |  | RICH EPICS S1 EP Temp 8 Hi Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP8_HI_STAT | N/A
57 | 25 |  | RICH EPICS S1 EP Temp 9 Hi Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP9_HI_STAT | N/A
58 | 26 |  | RICH EPICS S1 EP Temp 10 Hi Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP10_HI_STAT | N/A
59 | 27 |  | RICH EPICS S1 EP Temp 11 Hi Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP11_HI_STAT | N/A
60 | 28 |  | RICH EPICS S1 EP Temp 12 Hi Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP12_HI_STAT | N/A
61 | 29 |  | RICH EPICS S1 EP Temp 13 Hi Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP13_HI_STAT | N/A
62 | 30 |  | RICH EPICS S1 EP Temp 14 Hi Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP14_HI_STAT | N/A
63 | 31 |  | RICH EPICS S1 EP Temp 15 Hi Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP15_HI_STAT | N/A
64 | 32 |  | RICH EPICS S1 EP Temp 16 Hi Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP16_HI_STAT | N/A
65 | 33 |  | RICH EPICS S1 EP Humidity 1 Lo Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID1_LO_STAT | N/A
66 | 34 |  | RICH EPICS S1 EP Humidity 2 Lo Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID2_LO_STAT | N/A
67 | 35 |  | RICH EPICS S1 EP Humidity 3 Lo Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID3_LO_STAT | N/A
68 | 36 |  | RICH EPICS S1 EP Humidity 4 Lo Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID4_LO_STAT | N/A
69 | 37 |  | RICH EPICS S1 EP Humidity 5 Lo Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID5_LO_STAT | N/A
70 | 38 |  | RICH EPICS S1 EP Humidity 6 Lo Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID6_LO_STAT | N/A
71 | 39 |  | RICH EPICS S1 EP Humidity 7 Lo Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID7_LO_STAT | N/A
72 | 40 |  | RICH EPICS S1 EP Humidity 8 Lo Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID8_LO_STAT | N/A
73 | 41 |  | RICH EPICS S1 EP Humidity 9 Lo Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID9_LO_STAT | N/A
74 | 42 |  | RICH EPICS S1 EP Humidity 10 Lo Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID10_LO_STAT | N/A
75 | 43 |  | RICH EPICS S1 EP Humidity 11 Lo Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID11_LO_STAT | N/A
76 | 44 |  | RICH EPICS S1 EP Humidity 12 Lo Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID12_LO_STAT | N/A
77 | 45 |  | RICH EPICS S1 EP Humidity 13 Lo Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID13_LO_STAT | N/A
78 | 46 |  | RICH EPICS S1 EP Humidity 14 Lo Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID14_LO_STAT | N/A
79 | 47 |  | RICH EPICS S1 EP Humidity 15 Lo Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID15_LO_STAT | N/A
80 | 48 |  | RICH EPICS S1 EP Humidity 16 Lo Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID16_LO_STAT | N/A
81 | 49 |  | RICH EPICS S1 EP Temp 1 Lo Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP1_LO_STAT | N/A
82 | 50 |  | RICH EPICS S1 EP Temp 2 Lo Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP2_LO_STAT | N/A
83 | 51 |  | RICH EPICS S1 EP Temp 3 Lo Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP3_LO_STAT | N/A
84 | 52 |  | RICH EPICS S1 EP Temp 4 Lo Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP4_LO_STAT | N/A
85 | 53 |  | RICH EPICS S1 EP Temp 5 Lo Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP5_LO_STAT | N/A
86 | 54 |  | RICH EPICS S1 EP Temp 6 Lo Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP6_LO_STAT | N/A
87 | 55 |  | RICH EPICS S1 EP Temp 7 Lo Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP7_LO_STAT | N/A
88 | 56 |  | RICH EPICS S1 EP Temp 8 Lo Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP8_LO_STAT | N/A
89 | 57 |  | RICH EPICS S1 EP Temp 9 Lo Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP9_LO_STAT | N/A
90 | 58 |  | RICH EPICS S1 EP Temp 10 Lo Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP10_LO_STAT | N/A
91 | 59 |  | RICH EPICS S1 EP Temp 11 Lo Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP11_LO_STAT | N/A
92 | 60 |  | RICH EPICS S1 EP Temp 12 Lo Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP12_LO_STAT | N/A
93 | 61 |  | RICH EPICS S1 EP Temp 13 Lo Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP13_LO_STAT | N/A
94 | 62 |  | RICH EPICS S1 EP Temp 14 Lo Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP14_LO_STAT | N/A
95 | 63 |  | RICH EPICS S1 EP Temp 15 Lo Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP15_LO_STAT | N/A
96 | 64 |  | RICH EPICS S1 EP Temp 16 Lo Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP16_LO_STAT | N/A
97 | 1 | Sum of Any Interlock Status | RICHCRIO:RICH_EPICS:RICH_EPICS_Any_Interlock_Over_Limit? | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_ANY_OVERLIMIT | N/A
98 | 1 | Sum of Humidity Status | RICHCRIO:RICH_EPICS:RICH_EPICS_Humidity_Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID_STATUS | N/A
99 | 1 | Sum of Temperature Status | RICHCRIO:RICH_EPICS:RICH_EPICS_Temperature_Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP_STATUS | N/A
100 | 1 | Individual Sensor Latched Errors | RICH EPICS S1 EP Humidity 1 Hi Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID1_LATCHED_HI_ERR | N/A
101 | 2 |  | RICH EPICS S1 EP Humidity 2 Hi Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID2_LATCHED_HI_ERR | N/A
102 | 3 |  | RICH EPICS S1 EP Humidity 3 Hi Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID3_LATCHED_HI_ERR | N/A
103 | 4 |  | RICH EPICS S1 EP Humidity 4 Hi Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID4_LATCHED_HI_ERR | N/A
104 | 5 |  | RICH EPICS S1 EP Humidity 5 Hi Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID5_LATCHED_HI_ERR | N/A
105 | 6 |  | RICH EPICS S1 EP Humidity 6 Hi Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID6_LATCHED_HI_ERR | N/A
106 | 7 |  | RICH EPICS S1 EP Humidity 7 Hi Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID7_LATCHED_HI_ERR | N/A
107 | 8 |  | RICH EPICS S1 EP Humidity 8 Hi Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID8_LATCHED_HI_ERR | N/A
108 | 9 |  | RICH EPICS S1 EP Humidity 9 Hi Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID9_LATCHED_HI_ERR | N/A
109 | 10 |  | RICH EPICS S1 EP Humidity 10 Hi Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID10_LATCHED_HI_ERR | N/A
110 | 11 |  | RICH EPICS S1 EP Humidity 11 Hi Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID11_LATCHED_HI_ERR | N/A
111 | 12 |  | RICH EPICS S1 EP Humidity 12 Hi Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID12_LATCHED_HI_ERR | N/A
112 | 13 |  | RICH EPICS S1 EP Humidity 13 Hi Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID13_LATCHED_HI_ERR | N/A
113 | 14 |  | RICH EPICS S1 EP Humidity 14 Hi Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID14_LATCHED_HI_ERR | N/A
114 | 15 |  | RICH EPICS S1 EP Humidity 15 Hi Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID15_LATCHED_HI_ERR | N/A
115 | 16 |  | RICH EPICS S1 EP Humidity 16 Hi Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID16_LATCHED_HI_ERR | N/A
116 | 17 |  | RICH EPICS S1 EP Temp 1 Hi Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP1_LATCHED_HI_ERR | N/A
117 | 18 |  | RICH EPICS S1 EP Temp 2 Hi Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP2_LATCHED_HI_ERR | N/A
118 | 19 |  | RICH EPICS S1 EP Temp 3 Hi Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP3_LATCHED_HI_ERR | N/A
119 | 20 |  | RICH EPICS S1 EP Temp 4 Hi Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP4_LATCHED_HI_ERR | N/A
120 | 21 |  | RICH EPICS S1 EP Temp 5 Hi Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP5_LATCHED_HI_ERR | N/A
121 | 22 |  | RICH EPICS S1 EP Temp 6 Hi Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP6_LATCHED_HI_ERR | N/A
122 | 23 |  | RICH EPICS S1 EP Temp 7 Hi Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP7_LATCHED_HI_ERR | N/A
123 | 24 |  | RICH EPICS S1 EP Temp 8 Hi Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP8_LATCHED_HI_ERR | N/A
124 | 25 |  | RICH EPICS S1 EP Temp 9 Hi Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP9_LATCHED_HI_ERR | N/A
125 | 26 |  | RICH EPICS S1 EP Temp 10 Hi Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP10_LATCHED_HI_ERR | N/A
126 | 27 |  | RICH EPICS S1 EP Temp 11 Hi Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP11_LATCHED_HI_ERR | N/A
127 | 28 |  | RICH EPICS S1 EP Temp 12 Hi Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP12_LATCHED_HI_ERR | N/A
128 | 29 |  | RICH EPICS S1 EP Temp 13 Hi Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP13_LATCHED_HI_ERR | N/A
129 | 30 |  | RICH EPICS S1 EP Temp 14 Hi Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP14_LATCHED_HI_ERR | N/A
130 | 31 |  | RICH EPICS S1 EP Temp 15 Hi Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP15_LATCHED_HI_ERR | N/A
131 | 32 |  | RICH EPICS S1 EP Temp 16 Hi Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP16_LATCHED_HI_ERR | N/A
132 | 33 |  | RICH EPICS S1 EP Humidity 1 Lo Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID1_LATCHED_LO_ERR | N/A
133 | 34 |  | RICH EPICS S1 EP Humidity 2 Lo Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID2_LATCHED_LO_ERR | N/A
134 | 35 |  | RICH EPICS S1 EP Humidity 3 Lo Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID3_LATCHED_LO_ERR | N/A
135 | 36 |  | RICH EPICS S1 EP Humidity 4 Lo Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID4_LATCHED_LO_ERR | N/A
136 | 37 |  | RICH EPICS S1 EP Humidity 5 Lo Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID5_LATCHED_LO_ERR | N/A
137 | 38 |  | RICH EPICS S1 EP Humidity 6 Lo Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID6_LATCHED_LO_ERR | N/A
138 | 39 |  | RICH EPICS S1 EP Humidity 7 Lo Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID7_LATCHED_LO_ERR | N/A
139 | 40 |  | RICH EPICS S1 EP Humidity 8 Lo Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID8_LATCHED_LO_ERR | N/A
140 | 41 |  | RICH EPICS S1 EP Humidity 9 Lo Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID9_LATCHED_LO_ERR | N/A
141 | 42 |  | RICH EPICS S1 EP Humidity 10 Lo Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID10_LATCHED_LO_ERR | N/A
142 | 43 |  | RICH EPICS S1 EP Humidity 11 Lo Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID11_LATCHED_LO_ERR | N/A
143 | 44 |  | RICH EPICS S1 EP Humidity 12 Lo Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID12_LATCHED_LO_ERR | N/A
144 | 45 |  | RICH EPICS S1 EP Humidity 13 Lo Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID13_LATCHED_LO_ERR | N/A
145 | 46 |  | RICH EPICS S1 EP Humidity 14 Lo Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID14_LATCHED_LO_ERR | N/A
146 | 47 |  | RICH EPICS S1 EP Humidity 15 Lo Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID15_LATCHED_LO_ERR | N/A
147 | 48 |  | RICH EPICS S1 EP Humidity 16 Lo Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID16_LATCHED_LO_ERR | N/A
148 | 49 |  | RICH EPICS S1 EP Temp 1 Lo Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP1_LATCHED_LO_ERR | N/A
149 | 50 |  | RICH EPICS S1 EP Temp 2 Lo Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP2_LATCHED_LO_ERR | N/A
150 | 51 |  | RICH EPICS S1 EP Temp 3 Lo Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP3_LATCHED_LO_ERR | N/A
151 | 52 |  | RICH EPICS S1 EP Temp 4 Lo Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP4_LATCHED_LO_ERR | N/A
152 | 53 |  | RICH EPICS S1 EP Temp 5 Lo Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP5_LATCHED_LO_ERR | N/A
153 | 54 |  | RICH EPICS S1 EP Temp 6 Lo Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP6_LATCHED_LO_ERR | N/A
154 | 55 |  | RICH EPICS S1 EP Temp 7 Lo Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP7_LATCHED_LO_ERR | N/A
155 | 56 |  | RICH EPICS S1 EP Temp 8 Lo Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP8_LATCHED_LO_ERR | N/A
156 | 57 |  | RICH EPICS S1 EP Temp 9 Lo Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP9_LATCHED_LO_ERR | N/A
157 | 58 |  | RICH EPICS S1 EP Temp 10 Lo Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP10_LATCHED_LO_ERR | N/A
158 | 59 |  | RICH EPICS S1 EP Temp 11 Lo Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP11_LATCHED_LO_ERR | N/A
159 | 60 |  | RICH EPICS S1 EP Temp 12 Lo Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP12_LATCHED_LO_ERR | N/A
160 | 61 |  | RICH EPICS S1 EP Temp 13 Lo Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP13_LATCHED_LO_ERR | N/A
161 | 62 |  | RICH EPICS S1 EP Temp 14 Lo Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP14_LATCHED_LO_ERR | N/A
162 | 63 |  | RICH EPICS S1 EP Temp 15 Lo Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP15_LATCHED_LO_ERR | N/A
163 | 64 |  | RICH EPICS S1 EP Temp 16 Lo Latched Error | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP16_LATCHED_LO_ERR | N/A
164 | 1 | Reset of All Latched Errors | RICH EPICS S1 EP Reset Latched Errors | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_RESET_LATCHED_ERR | N/A
165 | 1 | Sum of Humidity Latched Errors | RICH EPICS S1 EP Humidity Latched Errors | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID_LATCHED_ERR | N/A
166 | 1 | Sum of Temperature Latched Errors | RICH EPICS S1 EP Temp Latched Errors | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP_LATCHED_ERR | N/A
167 | 1 | Individual Sensor Interlock Enables | RICH EPICS S1 EP Humidity 1 Sensor Enable | Read/Write | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID1_ENABLE | N/A
168 | 2 |  | RICH EPICS S1 EP Humidity 2 Sensor Enable | Read/Write | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID2_ENABLE | N/A
169 | 3 |  | RICH EPICS S1 EP Humidity 3 Sensor Enable | Read/Write | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID3_ENABLE | N/A
170 | 4 |  | RICH EPICS S1 EP Humidity 4 Sensor Enable | Read/Write | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID4_ENABLE | N/A
171 | 5 |  | RICH EPICS S1 EP Humidity 5 Sensor Enable | Read/Write | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID5_ENABLE | N/A
172 | 6 |  | RICH EPICS S1 EP Humidity 6 Sensor Enable | Read/Write | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID6_ENABLE | N/A
173 | 7 |  | RICH EPICS S1 EP Humidity 7 Sensor Enable | Read/Write | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID7_ENABLE | N/A
174 | 8 |  | RICH EPICS S1 EP Humidity 8 Sensor Enable | Read/Write | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID8_ENABLE | N/A
175 | 9 |  | RICH EPICS S1 EP Humidity 9 Sensor Enable | Read/Write | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID9_ENABLE | N/A
176 | 10 |  | RICH EPICS S1 EP Humidity 10 Sensor Enable | Read/Write | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID10_ENABLE | N/A
177 | 11 |  | RICH EPICS S1 EP Humidity 11 Sensor Enable | Read/Write | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID11_ENABLE | N/A
178 | 12 |  | RICH EPICS S1 EP Humidity 12 Sensor Enable | Read/Write | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID12_ENABLE | N/A
179 | 13 |  | RICH EPICS S1 EP Humidity 13 Sensor Enable | Read/Write | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID13_ENABLE | N/A
180 | 14 |  | RICH EPICS S1 EP Humidity 14 Sensor Enable | Read/Write | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID14_ENABLE | N/A
181 | 15 |  | RICH EPICS S1 EP Humidity 15 Sensor Enable | Read/Write | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID15_ENABLE | N/A
182 | 16 |  | RICH EPICS S1 EP Humidity 16 Sensor Enable | Read/Write | Boolean | B_DET_RICH_INTLK_S1_EP_HUMID16_ENABLE | N/A
183 | 17 |  | RICH EPICS S1 EP Temp 1 Sensor Enable | Read/Write | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP1_ENABLE | N/A
184 | 18 |  | RICH EPICS S1 EP Temp 2 Sensor Enable | Read/Write | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP2_ENABLE | N/A
185 | 19 |  | RICH EPICS S1 EP Temp 3 Sensor Enable | Read/Write | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP3_ENABLE | N/A
186 | 20 |  | RICH EPICS S1 EP Temp 4 Sensor Enable | Read/Write | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP4_ENABLE | N/A
187 | 21 |  | RICH EPICS S1 EP Temp 5 Sensor Enable | Read/Write | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP5_ENABLE | N/A
188 | 22 |  | RICH EPICS S1 EP Temp 6 Sensor Enable | Read/Write | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP6_ENABLE | N/A
189 | 23 |  | RICH EPICS S1 EP Temp 7 Sensor Enable | Read/Write | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP7_ENABLE | N/A
190 | 24 |  | RICH EPICS S1 EP Temp 8 Sensor Enable | Read/Write | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP8_ENABLE | N/A
191 | 25 |  | RICH EPICS S1 EP Temp 9 Sensor Enable | Read/Write | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP9_ENABLE | N/A
192 | 26 |  | RICH EPICS S1 EP Temp 10 Sensor Enable | Read/Write | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP10_ENABLE | N/A
193 | 27 |  | RICH EPICS S1 EP Temp 11 Sensor Enable | Read/Write | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP11_ENABLE | N/A
194 | 28 |  | RICH EPICS S1 EP Temp 12 Sensor Enable | Read/Write | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP12_ENABLE | N/A
195 | 29 |  | RICH EPICS S1 EP Temp 13 Sensor Enable | Read/Write | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP13_ENABLE | N/A
196 | 30 |  | RICH EPICS S1 EP Temp 14 Sensor Enable | Read/Write | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP14_ENABLE | N/A
197 | 31 |  | RICH EPICS S1 EP Temp 15 Sensor Enable | Read/Write | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP15_ENABLE | N/A
198 | 32 |  | RICH EPICS S1 EP Temp 16 Sensor Enable | Read/Write | Boolean | B_DET_RICH_INTLK_S1_EP_TEMP16_ENABLE | N/A
199 | 1 | Individual Sensor Threshold Control | RICH EPICS S1 EP Humidity 1 Hi Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_HUMID1_HI | %
200 | 2 |  | RICH EPICS S1 EP Humidity 2 Hi Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_HUMID2_HI | %
201 | 3 |  | RICH EPICS S1 EP Humidity 3 Hi Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_HUMID3_HI | %
202 | 4 |  | RICH EPICS S1 EP Humidity 4 Hi Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_HUMID4_HI | %
203 | 5 |  | RICH EPICS S1 EP Humidity 5 Hi Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_HUMID5_HI | %
204 | 6 |  | RICH EPICS S1 EP Humidity 6 Hi Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_HUMID6_HI | %
205 | 7 |  | RICH EPICS S1 EP Humidity 7 Hi Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_HUMID7_HI | %
206 | 8 |  | RICH EPICS S1 EP Humidity 8 Hi Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_HUMID8_HI | %
207 | 9 |  | RICH EPICS S1 EP Humidity 9 Hi Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_HUMID9_HI | %
208 | 10 |  | RICH EPICS S1 EP Humidity 10 Hi Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_HUMID10_HI | %
209 | 11 |  | RICH EPICS S1 EP Humidity 11 Hi Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_HUMID11_HI | %
210 | 12 |  | RICH EPICS S1 EP Humidity 12 Hi Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_HUMID12_HI | %
211 | 13 |  | RICH EPICS S1 EP Humidity 13 Hi Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_HUMID13_HI | %
212 | 14 |  | RICH EPICS S1 EP Humidity 14 Hi Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_HUMID14_HI | %
213 | 15 |  | RICH EPICS S1 EP Humidity 15 Hi Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_HUMID15_HI | %
214 | 16 |  | RICH EPICS S1 EP Humidity 16 Hi Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_HUMID16_HI | %
215 | 17 |  | RICH EPICS S1 EP Temp 1 Hi Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_TEMP1_HI | °C
216 | 18 |  | RICH EPICS S1 EP Temp 2 Hi Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_TEMP2_HI | °C
217 | 19 |  | RICH EPICS S1 EP Temp 3 Hi Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_TEMP3_HI | °C
218 | 20 |  | RICH EPICS S1 EP Temp 4 Hi Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_TEMP4_HI | °C
219 | 21 |  | RICH EPICS S1 EP Temp 5 Hi Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_TEMP5_HI | °C
220 | 22 |  | RICH EPICS S1 EP Temp 6 Hi Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_TEMP6_HI | °C
221 | 23 |  | RICH EPICS S1 EP Temp 7 Hi Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_TEMP7_HI | °C
222 | 24 |  | RICH EPICS S1 EP Temp 8 Hi Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_TEMP8_HI | °C
223 | 25 |  | RICH EPICS S1 EP Temp 9 Hi Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_TEMP9_HI | °C
224 | 26 |  | RICH EPICS S1 EP Temp 10 Hi Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_TEMP10_HI | °C
225 | 27 |  | RICH EPICS S1 EP Temp 11 Hi Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_TEMP11_HI | °C
226 | 28 |  | RICH EPICS S1 EP Temp 12 Hi Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_TEMP12_HI | °C
227 | 29 |  | RICH EPICS S1 EP Temp 13 Hi Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_TEMP13_HI | °C
228 | 30 |  | RICH EPICS S1 EP Temp 14 Hi Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_TEMP14_HI | °C
229 | 31 |  | RICH EPICS S1 EP Temp 15 Hi Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_TEMP15_HI | °C
230 | 32 |  | RICH EPICS S1 EP Temp 16 Hi Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_TEMP16_HI | °C
231 | 33 |  | RICH EPICS S1 EP Humidity 1 Lo Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_HUMID1_LO | %
232 | 34 |  | RICH EPICS S1 EP Humidity 2 Lo Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_HUMID2_LO | %
233 | 35 |  | RICH EPICS S1 EP Humidity 3 Lo Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_HUMID3_LO | %
234 | 36 |  | RICH EPICS S1 EP Humidity 4 Lo Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_HUMID4_LO | %
235 | 37 |  | RICH EPICS S1 EP Humidity 5 Lo Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_HUMID5_LO | %
236 | 38 |  | RICH EPICS S1 EP Humidity 6 Lo Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_HUMID6_LO | %
237 | 39 |  | RICH EPICS S1 EP Humidity 7 Lo Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_HUMID7_LO | %
238 | 40 |  | RICH EPICS S1 EP Humidity 8 Lo Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_HUMID8_LO | %
239 | 41 |  | RICH EPICS S1 EP Humidity 9 Lo Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_HUMID9_LO | %
240 | 42 |  | RICH EPICS S1 EP Humidity 10 Lo Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_HUMID10_LO | %
241 | 43 |  | RICH EPICS S1 EP Humidity 11 Lo Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_HUMID11_LO | %
242 | 44 |  | RICH EPICS S1 EP Humidity 12 Lo Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_HUMID12_LO | %
243 | 45 |  | RICH EPICS S1 EP Humidity 13 Lo Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_HUMID13_LO | %
244 | 46 |  | RICH EPICS S1 EP Humidity 14 Lo Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_HUMID14_LO | %
245 | 47 |  | RICH EPICS S1 EP Humidity 15 Lo Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_HUMID15_LO | %
246 | 48 |  | RICH EPICS S1 EP Humidity 16 Lo Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_HUMID16_LO | %
247 | 49 |  | RICH EPICS S1 EP Temp 1 Lo Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_TEMP1_LO | °C
248 | 50 |  | RICH EPICS S1 EP Temp 2 Lo Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_TEMP2_LO | °C
249 | 51 |  | RICH EPICS S1 EP Temp 3 Lo Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_TEMP3_LO | °C
250 | 52 |  | RICH EPICS S1 EP Temp 4 Lo Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_TEMP4_LO | °C
251 | 53 |  | RICH EPICS S1 EP Temp 5 Lo Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_TEMP5_LO | °C
252 | 54 |  | RICH EPICS S1 EP Temp 6 Lo Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_TEMP6_LO | °C
253 | 55 |  | RICH EPICS S1 EP Temp 7 Lo Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_TEMP7_LO | °C
254 | 56 |  | RICH EPICS S1 EP Temp 8 Lo Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_TEMP8_LO | °C
255 | 57 |  | RICH EPICS S1 EP Temp 9 Lo Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_TEMP9_LO | °C
256 | 58 |  | RICH EPICS S1 EP Temp 10 Lo Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_TEMP10_LO | °C
257 | 59 |  | RICH EPICS S1 EP Temp 11 Lo Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_TEMP11_LO | °C
258 | 60 |  | RICH EPICS S1 EP Temp 12 Lo Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_TEMP12_LO | °C
259 | 61 |  | RICH EPICS S1 EP Temp 13 Lo Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_TEMP13_LO | °C
260 | 62 |  | RICH EPICS S1 EP Temp 14 Lo Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_TEMP14_LO | °C
261 | 63 |  | RICH EPICS S1 EP Temp 15 Lo Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_TEMP15_LO | °C
262 | 64 |  | RICH EPICS S1 EP Temp 16 Lo Limit | Read/Write | Double | B_DET_RICH_INTLK_S1_EP_TEMP16_LO | °C
263 | 1 | Limit Control Status | RICH EPICS S1 EP S1 EP Limit Control | Read/Write | Boolean | B_DET_RICH_INTLK_S1_EP_EPICS_LIMIT_CTRL | N/A
264 | 1 | Hardware Interlock Status | RICH EPICS S1 EP LV Enable Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_LV_ENABLE_STAT | N/A
265 | 2 |  | RICH EPICS S1 EP HV Enable Status | Read Only | Boolean | B_DET_RICH_INTLK_S1_EP_HV_ENABLE_STAT | N/A
266 | 1 | Interlock System Status | RICH EPICS S1 EP cRIO CPU | Read Only | Double | B_HW_CRIO_RICH_S1_EP_CPULOAD | %
267 | 2 |  | RICH EPICS S1 EP cRIO Heartbeat | Read Only | Boolean | B_HW_CRIO_RICH_S1_EP_HEARTBEAT | N/A
268 | 3 |  | RICH EPICS S1 EP System Uptime | Read Only | Double | B_HW_CRIO_RICH_S1_EP_UPTIME | hours