## Current PVs
Old | Rename to …
B_DET_LTCC_GAS_DIST_C4F10_FLOW | DELETE
B_DET_LTCC_GAS_DIST_FLOW | B_DET_LTCC_GAS_DIST_MFC2002_FLOW
B_DET_LTCC_GAS_DIST_FLOW_SET | B_DET_LTCC_GAS_DIST_MFC2002_FLOW_SET
B_DET_LTCC_GAS_DIST_N2_FLOW | B_DET_LTCC_GAS_DIST_MFC2046_FLOW
B_DET_LTCC_GAS_DIST_N2_FLOW_SET | B_DET_LTCC_GAS_DIST_MFC2046_FLOW_SET
B_DET_LTCC_GAS_DIST_SCALE | KEEP AS-IS
B_DET_LTCC_GAS_DIST_TEMP | B_DET_LTCC_GAS_DIST_TT2043

## New PVs
Name | Type | deadband | egu | Notes
B_DET_LTCC_GAS_DIST_SVB2012 | Boolean |  |  | 1 = valve open
B_DET_LTCC_GAS_DIST_SVB2016 | Boolean |  |  | 1 = valve open
B_DET_LTCC_GAS_DIST_SVB2046 | Boolean |  |  | 1 = valve open
B_DET_LTCC_GAS_DIST_SVB2048 | Boolean |  |  | 1 = valve open
B_DET_LTCC_GAS_DIST_SVB2050 | Boolean |  |  | 1 = valve open
B_DET_LTCC_GAS_DIST_HSB2010 | double | 1 | ppm
B_DET_LTCC_GAS_DIST_MFM2012 | double | 0.2 | slm
B_DET_LTCC_GAS_DIST_TT2042 | double | 0.2 | deg C
B_DET_LTCC_GAS_DIST_TT2043 | double | 0.2 | deg C
B_DET_LTCC_GAS_DIST_TT2044 | double | 0.2 | deg C
B_DET_LTCC_GAS_DIST_TT2045 | double | 0.2 | deg C
B_DET_LTCC_GAS_DIST_PT2050 | double | 0.2 | psig
B_DET_LTCC_GAS_DIST_B2004 | boolean |  |  | 1 = pump on
B_DET_LTCC_GAS_DIST_MODE | enum |  |  | 0 = idle/failure, 1 = cooldown, 2 = purify on, 3 = purify off, 4 = transfer on, 5 = transfer off
B_DET_LTCC_GAS_DIST_ERROR | boolean |  |  | 1 = fault
B_DET_LTCC_GAS_DIST_MAN_OVERRIDE | boolean |  |  | 1 = manual override enabled
B_DET_LTCC_GAS_DIST_MFC2002_FLOW | double | 0.2 | slm
B_DET_LTCC_GAS_DIST_MFC2002_FLOW_SET | double |  | slm | no deadband
B_DET_LTCC_GAS_DIST_MFC2002_TEMP | double | 0.5 | deg C
B_DET_LTCC_GAS_DIST_MFC2046_FLOW | double | 1 | slm
B_DET_LTCC_GAS_DIST_MFC2046_FLOW_SET | double |  | slm | DON'T ARCHIVE YET, will need to later though
B_DET_LTCC_GAS_DIST_MFC2046_TEMP | double | 0.5 | deg C
B_DET_LTCC_GAS_DIST_SCALE | double | 0.1 | kg