## Tabelle1
# | 1st Col | Must be S or # | [5 empty] | (S=UsedSlot #=comment)
# | Crate No | Crate Name | Crate Type | Slot | Chan | Sys | Detector | Element
# | FADC FALL SETUP, Fadcs from 2 to 8, Distribution Card in 9
# | L4 Group
S | 1 | ADCBAND1 | FADC250 | 2 | 0 | ADC | BAND | 110_L
S | 1 | ADCBAND1 | FADC250 | 2 | 1 | ADC | BAND | 210_L
S | 1 | ADCBAND1 | FADC250 | 2 | 2 | ADC | BAND | 310_L
S | 1 | ADCBAND1 | FADC250 | 2 | 3 | ADC | BAND | 410_L
S | 1 | ADCBAND1 | FADC250 | 2 | 4 | ADC | BAND | 510_L
S | 1 | ADCBAND1 | FADC250 | 2 | 5 | ADC | BAND | 111A_L
S | 1 | ADCBAND1 | FADC250 | 2 | 6 | ADC | BAND | 211A_L
S | 1 | ADCBAND1 | FADC250 | 2 | 7 | ADC | BAND | 311A_L
S | 1 | ADCBAND1 | FADC250 | 2 | 8 | ADC | BAND | 411A_L
S | 1 | ADCBAND1 | FADC250 | 2 | 9 | ADC | BAND | 511A_L
S | 1 | ADCBAND1 | FADC250 | 2 | 10 | ADC | BAND | 112A_L
S | 1 | ADCBAND1 | FADC250 | 2 | 11 | ADC | BAND | 212A_L
S | 1 | ADCBAND1 | FADC250 | 2 | 12 | ADC | BAND | 312A_L
S | 1 | ADCBAND1 | FADC250 | 2 | 13 | ADC | BAND | 412A_L
S | 1 | ADCBAND1 | FADC250 | 2 | 14 | ADC | BAND | 512A_L
S | 1 | ADCBAND1 | FADC250 | 2 | 15 | ADC | BAND | empty
# | L5 Group
S | 1 | ADCBAND1 | FADC250 | 3 | 0 | ADC | BAND | 113A_L
S | 1 | ADCBAND1 | FADC250 | 3 | 1 | ADC | BAND | 213A_L
S | 1 | ADCBAND1 | FADC250 | 3 | 2 | ADC | BAND | 313A_L
S | 1 | ADCBAND1 | FADC250 | 3 | 3 | ADC | BAND | 413A_L
S | 1 | ADCBAND1 | FADC250 | 3 | 4 | ADC | BAND | 513A_L
S | 1 | ADCBAND1 | FADC250 | 3 | 5 | ADC | BAND | 114A_L
S | 1 | ADCBAND1 | FADC250 | 3 | 6 | ADC | BAND | 214A_L
S | 1 | ADCBAND1 | FADC250 | 3 | 7 | ADC | BAND | 314A_L
S | 1 | ADCBAND1 | FADC250 | 3 | 8 | ADC | BAND | 414A_L
S | 1 | ADCBAND1 | FADC250 | 3 | 9 | ADC | BAND | 514A_L
S | 1 | ADCBAND1 | FADC250 | 3 | 10 | ADC | BAND | 115A_L
S | 1 | ADCBAND1 | FADC250 | 3 | 11 | ADC | BAND | 215A_L
S | 1 | ADCBAND1 | FADC250 | 3 | 12 | ADC | BAND | 315A_L
S | 1 | ADCBAND1 | FADC250 | 3 | 13 | ADC | BAND | 415A_L
S | 1 | ADCBAND1 | FADC250 | 3 | 14 | ADC | BAND | 515A_L
S | 1 | ADCBAND1 | FADC250 | 3 | 15 | ADC | BAND | 416A_L
# | L6 Group
S | 1 | ADCBAND1 | FADC250 | 4 | 0 | ADC | BAND | 111A_R
S | 1 | ADCBAND1 | FADC250 | 4 | 1 | ADC | BAND | 211A_R
S | 1 | ADCBAND1 | FADC250 | 4 | 2 | ADC | BAND | 311A_R
S | 1 | ADCBAND1 | FADC250 | 4 | 3 | ADC | BAND | 411A_R
S | 1 | ADCBAND1 | FADC250 | 4 | 4 | ADC | BAND | 511A_R
S | 1 | ADCBAND1 | FADC250 | 4 | 5 | ADC | BAND | 112A_R
S | 1 | ADCBAND1 | FADC250 | 4 | 6 | ADC | BAND | 212A_R
S | 1 | ADCBAND1 | FADC250 | 4 | 7 | ADC | BAND | 312A_R
S | 1 | ADCBAND1 | FADC250 | 4 | 8 | ADC | BAND | 412A_R
S | 1 | ADCBAND1 | FADC250 | 4 | 9 | ADC | BAND | 512A_R
S | 1 | ADCBAND1 | FADC250 | 4 | 10 | ADC | BAND | 113A_R
S | 1 | ADCBAND1 | FADC250 | 4 | 11 | ADC | BAND | 213A_R
S | 1 | ADCBAND1 | FADC250 | 4 | 12 | ADC | BAND | 313A_R
S | 1 | ADCBAND1 | FADC250 | 4 | 13 | ADC | BAND | 413A_R
S | 1 | ADCBAND1 | FADC250 | 4 | 14 | ADC | BAND | 513A_R
S | 1 | ADCBAND1 | FADC250 | 4 | 15 | ADC | BAND | 316A_L
# | L7 Group
S | 1 | ADCBAND1 | FADC250 | 5 | 0 | ADC | BAND | 114A_R
S | 1 | ADCBAND1 | FADC250 | 5 | 1 | ADC | BAND | 214A_R
S | 1 | ADCBAND1 | FADC250 | 5 | 2 | ADC | BAND | 314A_R
S | 1 | ADCBAND1 | FADC250 | 5 | 3 | ADC | BAND | 414A_R
S | 1 | ADCBAND1 | FADC250 | 5 | 4 | ADC | BAND | 514A_R
S | 1 | ADCBAND1 | FADC250 | 5 | 5 | ADC | BAND | 115A_R
S | 1 | ADCBAND1 | FADC250 | 5 | 6 | ADC | BAND | 215A_R
S | 1 | ADCBAND1 | FADC250 | 5 | 7 | ADC | BAND | 315A_R
S | 1 | ADCBAND1 | FADC250 | 5 | 8 | ADC | BAND | 415A_R
S | 1 | ADCBAND1 | FADC250 | 5 | 9 | ADC | BAND | 515A_R
S | 1 | ADCBAND1 | FADC250 | 5 | 10 | ADC | BAND | 116A_R
S | 1 | ADCBAND1 | FADC250 | 5 | 11 | ADC | BAND | 216A_R
S | 1 | ADCBAND1 | FADC250 | 5 | 12 | ADC | BAND | 316A_R
S | 1 | ADCBAND1 | FADC250 | 5 | 13 | ADC | BAND | 416A_R
S | 1 | ADCBAND1 | FADC250 | 5 | 14 | ADC | BAND | 116A_L
S | 1 | ADCBAND1 | FADC250 | 5 | 15 | ADC | BAND | 216A_L
# | R5 Group
S | 1 | ADCBAND1 | FADC250 | 6 | 0 | ADC | BAND | 113B_R
S | 1 | ADCBAND1 | FADC250 | 6 | 1 | ADC | BAND | 213B_R
S | 1 | ADCBAND1 | FADC250 | 6 | 2 | ADC | BAND | 313B_R
S | 1 | ADCBAND1 | FADC250 | 6 | 3 | ADC | BAND | 413B_R
S | 1 | ADCBAND1 | FADC250 | 6 | 4 | ADC | BAND | 513B_R
S | 1 | ADCBAND1 | FADC250 | 6 | 5 | ADC | BAND | 114B_R
S | 1 | ADCBAND1 | FADC250 | 6 | 6 | ADC | BAND | 214B_R
S | 1 | ADCBAND1 | FADC250 | 6 | 7 | ADC | BAND | 314B_R
S | 1 | ADCBAND1 | FADC250 | 6 | 8 | ADC | BAND | 414B_R
S | 1 | ADCBAND1 | FADC250 | 6 | 9 | ADC | BAND | 514B_R
S | 1 | ADCBAND1 | FADC250 | 6 | 10 | ADC | BAND | 115B_R
S | 1 | ADCBAND1 | FADC250 | 6 | 11 | ADC | BAND | 215B_R
S | 1 | ADCBAND1 | FADC250 | 6 | 12 | ADC | BAND | 315B_R
S | 1 | ADCBAND1 | FADC250 | 6 | 13 | ADC | BAND | 415B_R
S | 1 | ADCBAND1 | FADC250 | 6 | 14 | ADC | BAND | 515B_R
S | 1 | ADCBAND1 | FADC250 | 6 | 15 | ADC | BAND | 116B_R
# | R6 Group
S | 1 | ADCBAND1 | FADC250 | 7 | 0 | ADC | BAND | 111B_L
S | 1 | ADCBAND1 | FADC250 | 7 | 1 | ADC | BAND | 211B_L
S | 1 | ADCBAND1 | FADC250 | 7 | 2 | ADC | BAND | 311B_L
S | 1 | ADCBAND1 | FADC250 | 7 | 3 | ADC | BAND | 411B_L
S | 1 | ADCBAND1 | FADC250 | 7 | 4 | ADC | BAND | 511B_L
S | 1 | ADCBAND1 | FADC250 | 7 | 5 | ADC | BAND | 112B_L
S | 1 | ADCBAND1 | FADC250 | 7 | 6 | ADC | BAND | 212B_L
S | 1 | ADCBAND1 | FADC250 | 7 | 7 | ADC | BAND | 312B_L
S | 1 | ADCBAND1 | FADC250 | 7 | 8 | ADC | BAND | 412B_L
S | 1 | ADCBAND1 | FADC250 | 7 | 9 | ADC | BAND | 512B_L
S | 1 | ADCBAND1 | FADC250 | 7 | 10 | ADC | BAND | 113B_L
S | 1 | ADCBAND1 | FADC250 | 7 | 11 | ADC | BAND | 213B_L
S | 1 | ADCBAND1 | FADC250 | 7 | 12 | ADC | BAND | 313B_L
S | 1 | ADCBAND1 | FADC250 | 7 | 13 | ADC | BAND | 413B_L
S | 1 | ADCBAND1 | FADC250 | 7 | 14 | ADC | BAND | 513B_L
S | 1 | ADCBAND1 | FADC250 | 7 | 15 | ADC | BAND | 510_R
# | R7 Group
S | 1 | ADCBAND1 | FADC250 | 8 | 0 | ADC | BAND | 114B_L
S | 1 | ADCBAND1 | FADC250 | 8 | 1 | ADC | BAND | 214B_L
S | 1 | ADCBAND1 | FADC250 | 8 | 2 | ADC | BAND | 314B_L
S | 1 | ADCBAND1 | FADC250 | 8 | 3 | ADC | BAND | 414B_L
S | 1 | ADCBAND1 | FADC250 | 8 | 4 | ADC | BAND | 514B_L
S | 1 | ADCBAND1 | FADC250 | 8 | 5 | ADC | BAND | 115B_L
S | 1 | ADCBAND1 | FADC250 | 8 | 6 | ADC | BAND | 215B_L
S | 1 | ADCBAND1 | FADC250 | 8 | 7 | ADC | BAND | 315B_L
S | 1 | ADCBAND1 | FADC250 | 8 | 8 | ADC | BAND | 415B_L
S | 1 | ADCBAND1 | FADC250 | 8 | 9 | ADC | BAND | 515B_L
S | 1 | ADCBAND1 | FADC250 | 8 | 10 | ADC | BAND | 116B_L
S | 1 | ADCBAND1 | FADC250 | 8 | 11 | ADC | BAND | 216B_L
S | 1 | ADCBAND1 | FADC250 | 8 | 12 | ADC | BAND | 316B_L
S | 1 | ADCBAND1 | FADC250 | 8 | 13 | ADC | BAND | 416B_L
S | 1 | ADCBAND1 | FADC250 | 8 | 14 | ADC | BAND | 511B_R
S | 1 | ADCBAND1 | FADC250 | 8 | 15 | ADC | BAND | 512B_R