## Tabelle1
# | 1st Col | Must be S or # | [5 empty] | (S=UsedSlot #=comment)
# | Crate No | Crate Name | Crate Type | Slot | Chan | Sys | Detector | Element
# | Discriminator FALL SETUP, Disc in Slots 12-15, 17-20
# | L4 Group
S | 66 | ADCBAND1 | FADC250 | 12 | 0 | DISC | BAND | 110_L
S | 66 | ADCBAND1 | FADC250 | 12 | 1 | DISC | BAND | 210_L
S | 66 | ADCBAND1 | FADC250 | 12 | 2 | DISC | BAND | 310_L
S | 66 | ADCBAND1 | FADC250 | 12 | 3 | DISC | BAND | 410_L
S | 66 | ADCBAND1 | FADC250 | 12 | 4 | DISC | BAND | 510_L
S | 66 | ADCBAND1 | FADC250 | 12 | 5 | DISC | BAND | 111A_L
S | 66 | ADCBAND1 | FADC250 | 12 | 6 | DISC | BAND | 211A_L
S | 66 | ADCBAND1 | FADC250 | 12 | 7 | DISC | BAND | 311A_L
S | 66 | ADCBAND1 | FADC250 | 12 | 8 | DISC | BAND | 411A_L
S | 66 | ADCBAND1 | FADC250 | 12 | 9 | DISC | BAND | 511A_L
S | 66 | ADCBAND1 | FADC250 | 12 | 10 | DISC | BAND | 112A_L
S | 66 | ADCBAND1 | FADC250 | 12 | 11 | DISC | BAND | 212A_L
S | 66 | ADCBAND1 | FADC250 | 12 | 12 | DISC | BAND | 312A_L
S | 66 | ADCBAND1 | FADC250 | 12 | 13 | DISC | BAND | 412A_L
S | 66 | ADCBAND1 | FADC250 | 12 | 14 | DISC | BAND | 512A_L
S | 66 | ADCBAND1 | FADC250 | 12 | 15 | DISC | BAND | empty
# | L5 Group
S | 66 | ADCBAND1 | FADC250 | 13 | 0 | DISC | BAND | 113A_L
S | 66 | ADCBAND1 | FADC250 | 13 | 1 | DISC | BAND | 213A_L
S | 66 | ADCBAND1 | FADC250 | 13 | 2 | DISC | BAND | 313A_L
S | 66 | ADCBAND1 | FADC250 | 13 | 3 | DISC | BAND | 413A_L
S | 66 | ADCBAND1 | FADC250 | 13 | 4 | DISC | BAND | 513A_L
S | 66 | ADCBAND1 | FADC250 | 13 | 5 | DISC | BAND | 114A_L
S | 66 | ADCBAND1 | FADC250 | 13 | 6 | DISC | BAND | 214A_L
S | 66 | ADCBAND1 | FADC250 | 13 | 7 | DISC | BAND | 314A_L
S | 66 | ADCBAND1 | FADC250 | 13 | 8 | DISC | BAND | 414A_L
S | 66 | ADCBAND1 | FADC250 | 13 | 9 | DISC | BAND | 514A_L
S | 66 | ADCBAND1 | FADC250 | 13 | 10 | DISC | BAND | 115A_L
S | 66 | ADCBAND1 | FADC250 | 13 | 11 | DISC | BAND | 215A_L
S | 66 | ADCBAND1 | FADC250 | 13 | 12 | DISC | BAND | 315A_L
S | 66 | ADCBAND1 | FADC250 | 13 | 13 | DISC | BAND | 415A_L
S | 66 | ADCBAND1 | FADC250 | 13 | 14 | DISC | BAND | 515A_L
S | 66 | ADCBAND1 | FADC250 | 13 | 15 | DISC | BAND | 416A_L
# | L6 Group
S | 66 | ADCBAND1 | FADC250 | 14 | 0 | DISC | BAND | 111A_R
S | 66 | ADCBAND1 | FADC250 | 14 | 1 | DISC | BAND | 211A_R
S | 66 | ADCBAND1 | FADC250 | 14 | 2 | DISC | BAND | 311A_R
S | 66 | ADCBAND1 | FADC250 | 14 | 3 | DISC | BAND | 411A_R
S | 66 | ADCBAND1 | FADC250 | 14 | 4 | DISC | BAND | 511A_R
S | 66 | ADCBAND1 | FADC250 | 14 | 5 | DISC | BAND | 112A_R
S | 66 | ADCBAND1 | FADC250 | 14 | 6 | DISC | BAND | 212A_R
S | 66 | ADCBAND1 | FADC250 | 14 | 7 | DISC | BAND | 312A_R
S | 66 | ADCBAND1 | FADC250 | 14 | 8 | DISC | BAND | 412A_R
S | 66 | ADCBAND1 | FADC250 | 14 | 9 | DISC | BAND | 512A_R
S | 66 | ADCBAND1 | FADC250 | 14 | 10 | DISC | BAND | 113A_R
S | 66 | ADCBAND1 | FADC250 | 14 | 11 | DISC | BAND | 213A_R
S | 66 | ADCBAND1 | FADC250 | 14 | 12 | DISC | BAND | 313A_R
S | 66 | ADCBAND1 | FADC250 | 14 | 13 | DISC | BAND | 413A_R
S | 66 | ADCBAND1 | FADC250 | 14 | 14 | DISC | BAND | 513A_R
S | 66 | ADCBAND1 | FADC250 | 14 | 15 | DISC | BAND | 316A_L
# | L7 Group
S | 66 | ADCBAND1 | FADC250 | 15 | 0 | DISC | BAND | 114A_R
S | 66 | ADCBAND1 | FADC250 | 15 | 1 | DISC | BAND | 214A_R
S | 66 | ADCBAND1 | FADC250 | 15 | 2 | DISC | BAND | 314A_R
S | 66 | ADCBAND1 | FADC250 | 15 | 3 | DISC | BAND | 414A_R
S | 66 | ADCBAND1 | FADC250 | 15 | 4 | DISC | BAND | 514A_R
S | 66 | ADCBAND1 | FADC250 | 15 | 5 | DISC | BAND | 115A_R
S | 66 | ADCBAND1 | FADC250 | 15 | 6 | DISC | BAND | 215A_R
S | 66 | ADCBAND1 | FADC250 | 15 | 7 | DISC | BAND | 315A_R
S | 66 | ADCBAND1 | FADC250 | 15 | 8 | DISC | BAND | 415A_R
S | 66 | ADCBAND1 | FADC250 | 15 | 9 | DISC | BAND | 515A_R
S | 66 | ADCBAND1 | FADC250 | 15 | 10 | DISC | BAND | 116A_R
S | 66 | ADCBAND1 | FADC250 | 15 | 11 | DISC | BAND | 216A_R
S | 66 | ADCBAND1 | FADC250 | 15 | 12 | DISC | BAND | 316A_R
S | 66 | ADCBAND1 | FADC250 | 15 | 13 | DISC | BAND | 416A_R
S | 66 | ADCBAND1 | FADC250 | 15 | 14 | DISC | BAND | 116A_L
S | 66 | ADCBAND1 | FADC250 | 15 | 15 | DISC | BAND | 216A_L
# | R4 Group
S | 66 | ADCBAND1 | FADC250 | 17 | 0 | DISC | BAND | 110_R
S | 66 | ADCBAND1 | FADC250 | 17 | 1 | DISC | BAND | 210_R
S | 66 | ADCBAND1 | FADC250 | 17 | 2 | DISC | BAND | 310_R
S | 66 | ADCBAND1 | FADC250 | 17 | 3 | DISC | BAND | 410_R
S | 66 | ADCBAND1 | FADC250 | 17 | 4 | DISC | BAND | empty
S | 66 | ADCBAND1 | FADC250 | 17 | 5 | DISC | BAND | 111B_R
S | 66 | ADCBAND1 | FADC250 | 17 | 6 | DISC | BAND | 211B_R
S | 66 | ADCBAND1 | FADC250 | 17 | 7 | DISC | BAND | 311B_R
S | 66 | ADCBAND1 | FADC250 | 17 | 8 | DISC | BAND | 411B_R
S | 66 | ADCBAND1 | FADC250 | 17 | 9 | DISC | BAND | empty
S | 66 | ADCBAND1 | FADC250 | 17 | 10 | DISC | BAND | 112B_R
S | 66 | ADCBAND1 | FADC250 | 17 | 11 | DISC | BAND | 212B_R
S | 66 | ADCBAND1 | FADC250 | 17 | 12 | DISC | BAND | 312B_R
S | 66 | ADCBAND1 | FADC250 | 17 | 13 | DISC | BAND | 412B_R
S | 66 | ADCBAND1 | FADC250 | 17 | 14 | DISC | BAND | empty
S | 66 | ADCBAND1 | FADC250 | 17 | 15 | DISC | BAND | empty
# | R5 Group
S | 66 | ADCBAND1 | FADC250 | 18 | 0 | DISC | BAND | 113B_R
S | 66 | ADCBAND1 | FADC250 | 18 | 1 | DISC | BAND | 213B_R
S | 66 | ADCBAND1 | FADC250 | 18 | 2 | DISC | BAND | 313B_R
S | 66 | ADCBAND1 | FADC250 | 18 | 3 | DISC | BAND | 413B_R
S | 66 | ADCBAND1 | FADC250 | 18 | 4 | DISC | BAND | 513B_R
S | 66 | ADCBAND1 | FADC250 | 18 | 5 | DISC | BAND | 114B_R
S | 66 | ADCBAND1 | FADC250 | 18 | 6 | DISC | BAND | 214B_R
S | 66 | ADCBAND1 | FADC250 | 18 | 7 | DISC | BAND | 314B_R
S | 66 | ADCBAND1 | FADC250 | 18 | 8 | DISC | BAND | 414B_R
S | 66 | ADCBAND1 | FADC250 | 18 | 9 | DISC | BAND | 514B_R
S | 66 | ADCBAND1 | FADC250 | 18 | 10 | DISC | BAND | 115B_R
S | 66 | ADCBAND1 | FADC250 | 18 | 11 | DISC | BAND | 215B_R
S | 66 | ADCBAND1 | FADC250 | 18 | 12 | DISC | BAND | 315B_R
S | 66 | ADCBAND1 | FADC250 | 18 | 13 | DISC | BAND | 415B_R
S | 66 | ADCBAND1 | FADC250 | 18 | 14 | DISC | BAND | 515B_R
S | 66 | ADCBAND1 | FADC250 | 18 | 15 | DISC | BAND | 116B_R
# | R6 Group
S | 66 | ADCBAND1 | FADC250 | 19 | 0 | DISC | BAND | 111B_L
S | 66 | ADCBAND1 | FADC250 | 19 | 1 | DISC | BAND | 211B_L
S | 66 | ADCBAND1 | FADC250 | 19 | 2 | DISC | BAND | 311B_L
S | 66 | ADCBAND1 | FADC250 | 19 | 3 | DISC | BAND | 411B_L
S | 66 | ADCBAND1 | FADC250 | 19 | 4 | DISC | BAND | 511B_L
S | 66 | ADCBAND1 | FADC250 | 19 | 5 | DISC | BAND | 112B_L
S | 66 | ADCBAND1 | FADC250 | 19 | 6 | DISC | BAND | 212B_L
S | 66 | ADCBAND1 | FADC250 | 19 | 7 | DISC | BAND | 312B_L
S | 66 | ADCBAND1 | FADC250 | 19 | 8 | DISC | BAND | 412B_L
S | 66 | ADCBAND1 | FADC250 | 19 | 9 | DISC | BAND | 512B_L
S | 66 | ADCBAND1 | FADC250 | 19 | 10 | DISC | BAND | 113B_L
S | 66 | ADCBAND1 | FADC250 | 19 | 11 | DISC | BAND | 213B_L
S | 66 | ADCBAND1 | FADC250 | 19 | 12 | DISC | BAND | 313B_L
S | 66 | ADCBAND1 | FADC250 | 19 | 13 | DISC | BAND | 413B_L
S | 66 | ADCBAND1 | FADC250 | 19 | 14 | DISC | BAND | 513B_L
S | 66 | ADCBAND1 | FADC250 | 19 | 15 | DISC | BAND | 510_R
# | R7 Group
S | 66 | ADCBAND1 | FADC250 | 20 | 0 | DISC | BAND | 114B_L
S | 66 | ADCBAND1 | FADC250 | 20 | 1 | DISC | BAND | 214B_L
S | 66 | ADCBAND1 | FADC250 | 20 | 2 | DISC | BAND | 314B_L
S | 66 | ADCBAND1 | FADC250 | 20 | 3 | DISC | BAND | 414B_L
S | 66 | ADCBAND1 | FADC250 | 20 | 4 | DISC | BAND | 514B_L
S | 66 | ADCBAND1 | FADC250 | 20 | 5 | DISC | BAND | 115B_L
S | 66 | ADCBAND1 | FADC250 | 20 | 6 | DISC | BAND | 215B_L
S | 66 | ADCBAND1 | FADC250 | 20 | 7 | DISC | BAND | 315B_L
S | 66 | ADCBAND1 | FADC250 | 20 | 8 | DISC | BAND | 415B_L
S | 66 | ADCBAND1 | FADC250 | 20 | 9 | DISC | BAND | 515B_L
S | 66 | ADCBAND1 | FADC250 | 20 | 10 | DISC | BAND | 116B_L
S | 66 | ADCBAND1 | FADC250 | 20 | 11 | DISC | BAND | 216B_L
S | 66 | ADCBAND1 | FADC250 | 20 | 12 | DISC | BAND | 316B_L
S | 66 | ADCBAND1 | FADC250 | 20 | 13 | DISC | BAND | 416B_L
S | 66 | ADCBAND1 | FADC250 | 20 | 14 | DISC | BAND | 511B_R
S | 66 | ADCBAND1 | FADC250 | 20 | 15 | DISC | BAND | 512B_R