## Tabelle1
# | 1st Col | Must be S or # | [5 empty] | (S=UsedSlot #=comment)
# | Crate No | Crate Name | Crate Type | Slot | Chan | Sys | Detector | Element
# | FADC , for slots I am assuming FADCs starting at slot 3, the SD is in slot 11, slot12 empty
# | L1 Group
S | 1 | ADCBAND1 | FADC250 | 3 | 0 | ADC | BAND | 101_L
S | 1 | ADCBAND1 | FADC250 | 3 | 1 | ADC | BAND | 201_L
S | 1 | ADCBAND1 | FADC250 | 3 | 2 | ADC | BAND | 301_L
S | 1 | ADCBAND1 | FADC250 | 3 | 3 | ADC | BAND | 401_L
S | 1 | ADCBAND1 | FADC250 | 3 | 4 | ADC | BAND | 501_L
S | 1 | ADCBAND1 | FADC250 | 3 | 5 | ADC | BAND | 102_L
S | 1 | ADCBAND1 | FADC250 | 3 | 6 | ADC | BAND | 202_L
S | 1 | ADCBAND1 | FADC250 | 3 | 7 | ADC | BAND | 302_L
S | 1 | ADCBAND1 | FADC250 | 3 | 8 | ADC | BAND | 402_L
S | 1 | ADCBAND1 | FADC250 | 3 | 9 | ADC | BAND | 502_L
S | 1 | ADCBAND1 | FADC250 | 3 | 10 | ADC | BAND | 103_L
S | 1 | ADCBAND1 | FADC250 | 3 | 11 | ADC | BAND | 203_L
S | 1 | ADCBAND1 | FADC250 | 3 | 12 | ADC | BAND | 303_L
S | 1 | ADCBAND1 | FADC250 | 3 | 13 | ADC | BAND | 403_L
S | 1 | ADCBAND1 | FADC250 | 3 | 14 | ADC | BAND | 503_L
S | 1 | ADCBAND1 | FADC250 | 3 | 15 | ADC | BAND | V01
# | L2 Group
S | 1 | ADCBAND1 | FADC250 | 4 | 0 | ADC | BAND | 104_L
S | 1 | ADCBAND1 | FADC250 | 4 | 1 | ADC | BAND | 204_L
S | 1 | ADCBAND1 | FADC250 | 4 | 2 | ADC | BAND | 304_L
S | 1 | ADCBAND1 | FADC250 | 4 | 3 | ADC | BAND | 404_L
S | 1 | ADCBAND1 | FADC250 | 4 | 4 | ADC | BAND | 504_L
S | 1 | ADCBAND1 | FADC250 | 4 | 5 | ADC | BAND | 105_L
S | 1 | ADCBAND1 | FADC250 | 4 | 6 | ADC | BAND | 205_L
S | 1 | ADCBAND1 | FADC250 | 4 | 7 | ADC | BAND | 305_L
S | 1 | ADCBAND1 | FADC250 | 4 | 8 | ADC | BAND | 405_L
S | 1 | ADCBAND1 | FADC250 | 4 | 9 | ADC | BAND | 505_L
S | 1 | ADCBAND1 | FADC250 | 4 | 10 | ADC | BAND | 106_L
S | 1 | ADCBAND1 | FADC250 | 4 | 11 | ADC | BAND | 206_L
S | 1 | ADCBAND1 | FADC250 | 4 | 12 | ADC | BAND | 306_L
S | 1 | ADCBAND1 | FADC250 | 4 | 13 | ADC | BAND | 406_L
S | 1 | ADCBAND1 | FADC250 | 4 | 14 | ADC | BAND | 506_L
S | 1 | ADCBAND1 | FADC250 | 4 | 15 | ADC | BAND | V02
# | L3 Group
S | 1 | ADCBAND1 | FADC250 | 5 | 0 | ADC | BAND | 107_L
S | 1 | ADCBAND1 | FADC250 | 5 | 1 | ADC | BAND | 207_L
S | 1 | ADCBAND1 | FADC250 | 5 | 2 | ADC | BAND | 307_L
S | 1 | ADCBAND1 | FADC250 | 5 | 3 | ADC | BAND | 407_L
S | 1 | ADCBAND1 | FADC250 | 5 | 4 | ADC | BAND | 507_L
S | 1 | ADCBAND1 | FADC250 | 5 | 5 | ADC | BAND | 108_L
S | 1 | ADCBAND1 | FADC250 | 5 | 6 | ADC | BAND | 208_L
S | 1 | ADCBAND1 | FADC250 | 5 | 7 | ADC | BAND | 308_L
S | 1 | ADCBAND1 | FADC250 | 5 | 8 | ADC | BAND | 408_L
S | 1 | ADCBAND1 | FADC250 | 5 | 9 | ADC | BAND | 508_L
S | 1 | ADCBAND1 | FADC250 | 5 | 10 | ADC | BAND | 109_L
S | 1 | ADCBAND1 | FADC250 | 5 | 11 | ADC | BAND | 209_L
S | 1 | ADCBAND1 | FADC250 | 5 | 12 | ADC | BAND | 309_L
S | 1 | ADCBAND1 | FADC250 | 5 | 13 | ADC | BAND | 409_L
S | 1 | ADCBAND1 | FADC250 | 5 | 14 | ADC | BAND | 509_L
S | 1 | ADCBAND1 | FADC250 | 5 | 15 | ADC | BAND | V03
# | L4 Group
S | 1 | ADCBAND1 | FADC250 | 6 | 0 | ADC | BAND | 110_L
S | 1 | ADCBAND1 | FADC250 | 6 | 1 | ADC | BAND | 210_L
S | 1 | ADCBAND1 | FADC250 | 6 | 2 | ADC | BAND | 310_L
S | 1 | ADCBAND1 | FADC250 | 6 | 3 | ADC | BAND | 410_L
S | 1 | ADCBAND1 | FADC250 | 6 | 4 | ADC | BAND | 510_L
S | 1 | ADCBAND1 | FADC250 | 6 | 5 | ADC | BAND | 111A_L
S | 1 | ADCBAND1 | FADC250 | 6 | 6 | ADC | BAND | 211A_L
S | 1 | ADCBAND1 | FADC250 | 6 | 7 | ADC | BAND | 311A_L
S | 1 | ADCBAND1 | FADC250 | 6 | 8 | ADC | BAND | 411A_L
S | 1 | ADCBAND1 | FADC250 | 6 | 9 | ADC | BAND | 511A_L
S | 1 | ADCBAND1 | FADC250 | 6 | 10 | ADC | BAND | 112A_L
S | 1 | ADCBAND1 | FADC250 | 6 | 11 | ADC | BAND | 212A_L
S | 1 | ADCBAND1 | FADC250 | 6 | 12 | ADC | BAND | 312A_L
S | 1 | ADCBAND1 | FADC250 | 6 | 13 | ADC | BAND | 412A_L
S | 1 | ADCBAND1 | FADC250 | 6 | 14 | ADC | BAND | 512A_L
S | 1 | ADCBAND1 | FADC250 | 6 | 15 | ADC | BAND | V04
# | L5 Group
S | 1 | ADCBAND1 | FADC250 | 7 | 0 | ADC | BAND | 113A_L
S | 1 | ADCBAND1 | FADC250 | 7 | 1 | ADC | BAND | 213A_L
S | 1 | ADCBAND1 | FADC250 | 7 | 2 | ADC | BAND | 313A_L
S | 1 | ADCBAND1 | FADC250 | 7 | 3 | ADC | BAND | 413A_L
S | 1 | ADCBAND1 | FADC250 | 7 | 4 | ADC | BAND | 513A_L
S | 1 | ADCBAND1 | FADC250 | 7 | 5 | ADC | BAND | 114A_L
S | 1 | ADCBAND1 | FADC250 | 7 | 6 | ADC | BAND | 214A_L
S | 1 | ADCBAND1 | FADC250 | 7 | 7 | ADC | BAND | 314A_L
S | 1 | ADCBAND1 | FADC250 | 7 | 8 | ADC | BAND | 414A_L
S | 1 | ADCBAND1 | FADC250 | 7 | 9 | ADC | BAND | 514A_L
S | 1 | ADCBAND1 | FADC250 | 7 | 10 | ADC | BAND | 115A_L
S | 1 | ADCBAND1 | FADC250 | 7 | 11 | ADC | BAND | 215A_L
S | 1 | ADCBAND1 | FADC250 | 7 | 12 | ADC | BAND | 315A_L
S | 1 | ADCBAND1 | FADC250 | 7 | 13 | ADC | BAND | 415A_L
S | 1 | ADCBAND1 | FADC250 | 7 | 14 | ADC | BAND | 515A_L
S | 1 | ADCBAND1 | FADC250 | 7 | 15 | ADC | BAND | V05
# | L6 Group
S | 1 | ADCBAND1 | FADC250 | 8 | 0 | ADC | BAND | 111A_R
S | 1 | ADCBAND1 | FADC250 | 8 | 1 | ADC | BAND | 211A_R
S | 1 | ADCBAND1 | FADC250 | 8 | 2 | ADC | BAND | 311A_R
S | 1 | ADCBAND1 | FADC250 | 8 | 3 | ADC | BAND | 411A_R
S | 1 | ADCBAND1 | FADC250 | 8 | 4 | ADC | BAND | 511A_R
S | 1 | ADCBAND1 | FADC250 | 8 | 5 | ADC | BAND | 112A_R
S | 1 | ADCBAND1 | FADC250 | 8 | 6 | ADC | BAND | 212A_R
S | 1 | ADCBAND1 | FADC250 | 8 | 7 | ADC | BAND | 312A_R
S | 1 | ADCBAND1 | FADC250 | 8 | 8 | ADC | BAND | 412A_R
S | 1 | ADCBAND1 | FADC250 | 8 | 9 | ADC | BAND | 512A_R
S | 1 | ADCBAND1 | FADC250 | 8 | 10 | ADC | BAND | 113A_R
S | 1 | ADCBAND1 | FADC250 | 8 | 11 | ADC | BAND | 213A_R
S | 1 | ADCBAND1 | FADC250 | 8 | 12 | ADC | BAND | 313A_R
S | 1 | ADCBAND1 | FADC250 | 8 | 13 | ADC | BAND | 413A_R
S | 1 | ADCBAND1 | FADC250 | 8 | 14 | ADC | BAND | 513A_R
S | 1 | ADCBAND1 | FADC250 | 8 | 15 | ADC | BAND | V06
# | L7 Group
S | 1 | ADCBAND1 | FADC250 | 9 | 0 | ADC | BAND | 114A_R
S | 1 | ADCBAND1 | FADC250 | 9 | 1 | ADC | BAND | 214A_R
S | 1 | ADCBAND1 | FADC250 | 9 | 2 | ADC | BAND | 314A_R
S | 1 | ADCBAND1 | FADC250 | 9 | 3 | ADC | BAND | 414A_R
S | 1 | ADCBAND1 | FADC250 | 9 | 4 | ADC | BAND | 514A_R
S | 1 | ADCBAND1 | FADC250 | 9 | 5 | ADC | BAND | 115A_R
S | 1 | ADCBAND1 | FADC250 | 9 | 6 | ADC | BAND | 215A_R
S | 1 | ADCBAND1 | FADC250 | 9 | 7 | ADC | BAND | 315A_R
S | 1 | ADCBAND1 | FADC250 | 9 | 8 | ADC | BAND | 415A_R
S | 1 | ADCBAND1 | FADC250 | 9 | 9 | ADC | BAND | 515A_R
S | 1 | ADCBAND1 | FADC250 | 9 | 10 | ADC | BAND | 116A_R
S | 1 | ADCBAND1 | FADC250 | 9 | 11 | ADC | BAND | 216A_R
S | 1 | ADCBAND1 | FADC250 | 9 | 12 | ADC | BAND | 316A_R
S | 1 | ADCBAND1 | FADC250 | 9 | 13 | ADC | BAND | 416A_R
S | 1 | ADCBAND1 | FADC250 | 9 | 14 | ADC | BAND | V07
S | 1 | ADCBAND1 | FADC250 | 9 | 15 | ADC | BAND | V08
# | L8 Group
S | 1 | ADCBAND1 | FADC250 | 10 | 0 | ADC | BAND | 116A_L
S | 1 | ADCBAND1 | FADC250 | 10 | 1 | ADC | BAND | 216A_L
S | 1 | ADCBAND1 | FADC250 | 10 | 2 | ADC | BAND | 316A_L
S | 1 | ADCBAND1 | FADC250 | 10 | 3 | ADC | BAND | 416A_L
S | 1 | ADCBAND1 | FADC250 | 10 | 4 | ADC | BAND | 117_L
S | 1 | ADCBAND1 | FADC250 | 10 | 5 | ADC | BAND | 217_L
S | 1 | ADCBAND1 | FADC250 | 10 | 6 | ADC | BAND | 317_L
S | 1 | ADCBAND1 | FADC250 | 10 | 7 | ADC | BAND | 417_L
S | 1 | ADCBAND1 | FADC250 | 10 | 8 | ADC | BAND | 118_L
S | 1 | ADCBAND1 | FADC250 | 10 | 9 | ADC | BAND | 218_L
S | 1 | ADCBAND1 | FADC250 | 10 | 10 | ADC | BAND | 318_L
S | 1 | ADCBAND1 | FADC250 | 10 | 11 | ADC | BAND | 418_L
S | 1 | ADCBAND1 | FADC250 | 10 | 12 | ADC | BAND | V09
S | 1 | ADCBAND1 | FADC250 | 10 | 13 | ADC | BAND | V10
S | 1 | ADCBAND1 | FADC250 | 10 | 14 | ADC | BAND | V17
S | 1 | ADCBAND1 | FADC250 | 10 | 15 | ADC | BAND | V18
# | R1 Group
S | 1 | ADCBAND1 | FADC250 | 13 | 0 | ADC | BAND | 101_R
S | 1 | ADCBAND1 | FADC250 | 13 | 1 | ADC | BAND | 201_R
S | 1 | ADCBAND1 | FADC250 | 13 | 2 | ADC | BAND | 301_R
S | 1 | ADCBAND1 | FADC250 | 13 | 3 | ADC | BAND | 401_R
S | 1 | ADCBAND1 | FADC250 | 13 | 4 | ADC | BAND | 501_R
S | 1 | ADCBAND1 | FADC250 | 13 | 5 | ADC | BAND | 102_R
S | 1 | ADCBAND1 | FADC250 | 13 | 6 | ADC | BAND | 202_R
S | 1 | ADCBAND1 | FADC250 | 13 | 7 | ADC | BAND | 302_R
S | 1 | ADCBAND1 | FADC250 | 13 | 8 | ADC | BAND | 402_R
S | 1 | ADCBAND1 | FADC250 | 13 | 9 | ADC | BAND | 502_R
S | 1 | ADCBAND1 | FADC250 | 13 | 10 | ADC | BAND | 103_R
S | 1 | ADCBAND1 | FADC250 | 13 | 11 | ADC | BAND | 203_R
S | 1 | ADCBAND1 | FADC250 | 13 | 12 | ADC | BAND | 303_R
S | 1 | ADCBAND1 | FADC250 | 13 | 13 | ADC | BAND | 403_R
S | 1 | ADCBAND1 | FADC250 | 13 | 14 | ADC | BAND | 503_R
S | 1 | ADCBAND1 | FADC250 | 13 | 15 | ADC | BAND | V11B
# | R2 Group
S | 1 | ADCBAND1 | FADC250 | 14 | 0 | ADC | BAND | 104_R
S | 1 | ADCBAND1 | FADC250 | 14 | 1 | ADC | BAND | 204_R
S | 1 | ADCBAND1 | FADC250 | 14 | 2 | ADC | BAND | 304_R
S | 1 | ADCBAND1 | FADC250 | 14 | 3 | ADC | BAND | 404_R
S | 1 | ADCBAND1 | FADC250 | 14 | 4 | ADC | BAND | 504_R
S | 1 | ADCBAND1 | FADC250 | 14 | 5 | ADC | BAND | 105_R
S | 1 | ADCBAND1 | FADC250 | 14 | 6 | ADC | BAND | 205_R
S | 1 | ADCBAND1 | FADC250 | 14 | 7 | ADC | BAND | 305_R
S | 1 | ADCBAND1 | FADC250 | 14 | 8 | ADC | BAND | 405_R
S | 1 | ADCBAND1 | FADC250 | 14 | 9 | ADC | BAND | 505_R
S | 1 | ADCBAND1 | FADC250 | 14 | 10 | ADC | BAND | 106_R
S | 1 | ADCBAND1 | FADC250 | 14 | 11 | ADC | BAND | 206_R
S | 1 | ADCBAND1 | FADC250 | 14 | 12 | ADC | BAND | 306_R
S | 1 | ADCBAND1 | FADC250 | 14 | 13 | ADC | BAND | 406_R
S | 1 | ADCBAND1 | FADC250 | 14 | 14 | ADC | BAND | 506_R
S | 1 | ADCBAND1 | FADC250 | 14 | 15 | ADC | BAND | V12B
# | R3 Group
S | 1 | ADCBAND1 | FADC250 | 15 | 0 | ADC | BAND | 107_R
S | 1 | ADCBAND1 | FADC250 | 15 | 1 | ADC | BAND | 207_R
S | 1 | ADCBAND1 | FADC250 | 15 | 2 | ADC | BAND | 307_R
S | 1 | ADCBAND1 | FADC250 | 15 | 3 | ADC | BAND | 407_R
S | 1 | ADCBAND1 | FADC250 | 15 | 4 | ADC | BAND | 507_R
S | 1 | ADCBAND1 | FADC250 | 15 | 5 | ADC | BAND | 108_R
S | 1 | ADCBAND1 | FADC250 | 15 | 6 | ADC | BAND | 208_R
S | 1 | ADCBAND1 | FADC250 | 15 | 7 | ADC | BAND | 308_R
S | 1 | ADCBAND1 | FADC250 | 15 | 8 | ADC | BAND | 408_R
S | 1 | ADCBAND1 | FADC250 | 15 | 9 | ADC | BAND | 508_R
S | 1 | ADCBAND1 | FADC250 | 15 | 10 | ADC | BAND | 109_R
S | 1 | ADCBAND1 | FADC250 | 15 | 11 | ADC | BAND | 209_R
S | 1 | ADCBAND1 | FADC250 | 15 | 12 | ADC | BAND | 309_R
S | 1 | ADCBAND1 | FADC250 | 15 | 13 | ADC | BAND | 409_R
S | 1 | ADCBAND1 | FADC250 | 15 | 14 | ADC | BAND | 509_R
S | 1 | ADCBAND1 | FADC250 | 15 | 15 | ADC | BAND | V13B
# | R4 Group
S | 1 | ADCBAND1 | FADC250 | 16 | 0 | ADC | BAND | 110_R
S | 1 | ADCBAND1 | FADC250 | 16 | 1 | ADC | BAND | 210_R
S | 1 | ADCBAND1 | FADC250 | 16 | 2 | ADC | BAND | 310_R
S | 1 | ADCBAND1 | FADC250 | 16 | 3 | ADC | BAND | 410_R
S | 1 | ADCBAND1 | FADC250 | 16 | 4 | ADC | BAND | 510_R
S | 1 | ADCBAND1 | FADC250 | 16 | 5 | ADC | BAND | 111B_R
S | 1 | ADCBAND1 | FADC250 | 16 | 6 | ADC | BAND | 211B_R
S | 1 | ADCBAND1 | FADC250 | 16 | 7 | ADC | BAND | 311B_R
S | 1 | ADCBAND1 | FADC250 | 16 | 8 | ADC | BAND | 411B_R
S | 1 | ADCBAND1 | FADC250 | 16 | 9 | ADC | BAND | 511B_R
S | 1 | ADCBAND1 | FADC250 | 16 | 10 | ADC | BAND | 112B_R
S | 1 | ADCBAND1 | FADC250 | 16 | 11 | ADC | BAND | 212B_R
S | 1 | ADCBAND1 | FADC250 | 16 | 12 | ADC | BAND | 312B_R
S | 1 | ADCBAND1 | FADC250 | 16 | 13 | ADC | BAND | 412B_R
S | 1 | ADCBAND1 | FADC250 | 16 | 14 | ADC | BAND | 512B_R
S | 1 | ADCBAND1 | FADC250 | 16 | 15 | ADC | BAND | V14B
# | R5 Group
S | 1 | ADCBAND1 | FADC250 | 17 | 0 | ADC | BAND | 113B_R
S | 1 | ADCBAND1 | FADC250 | 17 | 1 | ADC | BAND | 213B_R
S | 1 | ADCBAND1 | FADC250 | 17 | 2 | ADC | BAND | 313B_R
S | 1 | ADCBAND1 | FADC250 | 17 | 3 | ADC | BAND | 413B_R
S | 1 | ADCBAND1 | FADC250 | 17 | 4 | ADC | BAND | 513B_R
S | 1 | ADCBAND1 | FADC250 | 17 | 5 | ADC | BAND | 114B_R
S | 1 | ADCBAND1 | FADC250 | 17 | 6 | ADC | BAND | 214B_R
S | 1 | ADCBAND1 | FADC250 | 17 | 7 | ADC | BAND | 314B_R
S | 1 | ADCBAND1 | FADC250 | 17 | 8 | ADC | BAND | 414B_R
S | 1 | ADCBAND1 | FADC250 | 17 | 9 | ADC | BAND | 514B_R
S | 1 | ADCBAND1 | FADC250 | 17 | 10 | ADC | BAND | 115B_R
S | 1 | ADCBAND1 | FADC250 | 17 | 11 | ADC | BAND | 215B_R
S | 1 | ADCBAND1 | FADC250 | 17 | 12 | ADC | BAND | 315B_R
S | 1 | ADCBAND1 | FADC250 | 17 | 13 | ADC | BAND | 415B_R
S | 1 | ADCBAND1 | FADC250 | 17 | 14 | ADC | BAND | 515B_R
S | 1 | ADCBAND1 | FADC250 | 17 | 15 | ADC | BAND | V15B
# | R6 Group
S | 1 | ADCBAND1 | FADC250 | 18 | 0 | ADC | BAND | 111B_L
S | 1 | ADCBAND1 | FADC250 | 18 | 1 | ADC | BAND | 211B_L
S | 1 | ADCBAND1 | FADC250 | 18 | 2 | ADC | BAND | 311B_L
S | 1 | ADCBAND1 | FADC250 | 18 | 3 | ADC | BAND | 411B_L
S | 1 | ADCBAND1 | FADC250 | 18 | 4 | ADC | BAND | 511B_L
S | 1 | ADCBAND1 | FADC250 | 18 | 5 | ADC | BAND | 112B_L
S | 1 | ADCBAND1 | FADC250 | 18 | 6 | ADC | BAND | 212B_L
S | 1 | ADCBAND1 | FADC250 | 18 | 7 | ADC | BAND | 312B_L
S | 1 | ADCBAND1 | FADC250 | 18 | 8 | ADC | BAND | 412B_L
S | 1 | ADCBAND1 | FADC250 | 18 | 9 | ADC | BAND | 512B_L
S | 1 | ADCBAND1 | FADC250 | 18 | 10 | ADC | BAND | 113B_L
S | 1 | ADCBAND1 | FADC250 | 18 | 11 | ADC | BAND | 213B_L
S | 1 | ADCBAND1 | FADC250 | 18 | 12 | ADC | BAND | 313B_L
S | 1 | ADCBAND1 | FADC250 | 18 | 13 | ADC | BAND | 413B_L
S | 1 | ADCBAND1 | FADC250 | 18 | 14 | ADC | BAND | 513B_L
S | 1 | ADCBAND1 | FADC250 | 18 | 15 | ADC | BAND | V16B
# | R7 Group
S | 1 | ADCBAND1 | FADC250 | 19 | 0 | ADC | BAND | 114B_L
S | 1 | ADCBAND1 | FADC250 | 19 | 1 | ADC | BAND | 214B_L
S | 1 | ADCBAND1 | FADC250 | 19 | 2 | ADC | BAND | 314B_L
S | 1 | ADCBAND1 | FADC250 | 19 | 3 | ADC | BAND | 414B_L
S | 1 | ADCBAND1 | FADC250 | 19 | 4 | ADC | BAND | 514B_L
S | 1 | ADCBAND1 | FADC250 | 19 | 5 | ADC | BAND | 115B_L
S | 1 | ADCBAND1 | FADC250 | 19 | 6 | ADC | BAND | 215B_L
S | 1 | ADCBAND1 | FADC250 | 19 | 7 | ADC | BAND | 315B_L
S | 1 | ADCBAND1 | FADC250 | 19 | 8 | ADC | BAND | 415B_L
S | 1 | ADCBAND1 | FADC250 | 19 | 9 | ADC | BAND | 515B_L
S | 1 | ADCBAND1 | FADC250 | 19 | 10 | ADC | BAND | 116B_L
S | 1 | ADCBAND1 | FADC250 | 19 | 11 | ADC | BAND | 216B_L
S | 1 | ADCBAND1 | FADC250 | 19 | 12 | ADC | BAND | 316B_L
S | 1 | ADCBAND1 | FADC250 | 19 | 13 | ADC | BAND | 416B_L
S | 1 | ADCBAND1 | FADC250 | 19 | 14 | ADC | BAND | V11A
S | 1 | ADCBAND1 | FADC250 | 19 | 15 | ADC | BAND | V12A
# | R8 Group
S | 1 | ADCBAND1 | FADC250 | 20 | 0 | ADC | BAND | 116B_R
S | 1 | ADCBAND1 | FADC250 | 20 | 1 | ADC | BAND | 216B_R
S | 1 | ADCBAND1 | FADC250 | 20 | 2 | ADC | BAND | 316B_R
S | 1 | ADCBAND1 | FADC250 | 20 | 3 | ADC | BAND | 416B_R
S | 1 | ADCBAND1 | FADC250 | 20 | 4 | ADC | BAND | 117_R
S | 1 | ADCBAND1 | FADC250 | 20 | 5 | ADC | BAND | 217_R
S | 1 | ADCBAND1 | FADC250 | 20 | 6 | ADC | BAND | 317_R
S | 1 | ADCBAND1 | FADC250 | 20 | 7 | ADC | BAND | 417_R
S | 1 | ADCBAND1 | FADC250 | 20 | 8 | ADC | BAND | 118_R
S | 1 | ADCBAND1 | FADC250 | 20 | 9 | ADC | BAND | 218_R
S | 1 | ADCBAND1 | FADC250 | 20 | 10 | ADC | BAND | 318_R
S | 1 | ADCBAND1 | FADC250 | 20 | 11 | ADC | BAND | 418_R
S | 1 | ADCBAND1 | FADC250 | 20 | 12 | ADC | BAND | V13A
S | 1 | ADCBAND1 | FADC250 | 20 | 13 | ADC | BAND | V14A
S | 1 | ADCBAND1 | FADC250 | 20 | 14 | ADC | BAND | V15A
S | 1 | ADCBAND1 | FADC250 | 20 | 15 | ADC | BAND | V16A

## Tabelle2
# | 1st Col | Must be S or # | [5 empty] | (S=UsedSlot #=comment)
# | Crate No | Crate Name | Crate Type | Slot | Chan | Sys | Detector | Element
# | FADC FALL SETUP, for slots I am assuming that the TI is in the middle in slot 8 , changes on 13.8.17
# | L4 Group
S | 1 | ADCBAND | FADC250 | 3 | 0 | ADC | BAND | 110_L
S | 1 | ADCBAND | FADC250 | 3 | 1 | ADC | BAND | 210_L
S | 1 | ADCBAND | FADC250 | 3 | 2 | ADC | BAND | 310_L
S | 1 | ADCBAND | FADC250 | 3 | 3 | ADC | BAND | 410_L
S | 1 | ADCBAND | FADC250 | 3 | 4 | ADC | BAND | 510_L
S | 1 | ADCBAND | FADC250 | 3 | 5 | ADC | BAND | 111A_L
S | 1 | ADCBAND | FADC250 | 3 | 6 | ADC | BAND | 211A_L
S | 1 | ADCBAND | FADC250 | 3 | 7 | ADC | BAND | 311A_L
S | 1 | ADCBAND | FADC250 | 3 | 8 | ADC | BAND | 411A_L
S | 1 | ADCBAND | FADC250 | 3 | 9 | ADC | BAND | 511A_L
S | 1 | ADCBAND | FADC250 | 3 | 10 | ADC | BAND | 112A_L
S | 1 | ADCBAND | FADC250 | 3 | 11 | ADC | BAND | 212A_L
S | 1 | ADCBAND | FADC250 | 3 | 12 | ADC | BAND | 312A_L
S | 1 | ADCBAND | FADC250 | 3 | 13 | ADC | BAND | 412A_L
S | 1 | ADCBAND | FADC250 | 3 | 14 | ADC | BAND | 512A_L
S | 1 | ADCBAND | FADC250 | 3 | 15 | ADC | BAND | V04
# | L5 Group
S | 1 | ADCBAND | FADC250 | 4 | 0 | ADC | BAND | 113A_L
S | 1 | ADCBAND | FADC250 | 4 | 1 | ADC | BAND | 213A_L
S | 1 | ADCBAND | FADC250 | 4 | 2 | ADC | BAND | 313A_L
S | 1 | ADCBAND | FADC250 | 4 | 3 | ADC | BAND | 413A_L
S | 1 | ADCBAND | FADC250 | 4 | 4 | ADC | BAND | 513A_L
S | 1 | ADCBAND | FADC250 | 4 | 5 | ADC | BAND | 114A_L
S | 1 | ADCBAND | FADC250 | 4 | 6 | ADC | BAND | 214A_L
S | 1 | ADCBAND | FADC250 | 4 | 7 | ADC | BAND | 314A_L
S | 1 | ADCBAND | FADC250 | 4 | 8 | ADC | BAND | 414A_L
S | 1 | ADCBAND | FADC250 | 4 | 9 | ADC | BAND | 514A_L
S | 1 | ADCBAND | FADC250 | 4 | 10 | ADC | BAND | 115A_L
S | 1 | ADCBAND | FADC250 | 4 | 11 | ADC | BAND | 215A_L
S | 1 | ADCBAND | FADC250 | 4 | 12 | ADC | BAND | 315A_L
S | 1 | ADCBAND | FADC250 | 4 | 13 | ADC | BAND | 415A_L
S | 1 | ADCBAND | FADC250 | 4 | 14 | ADC | BAND | 515A_L
S | 1 | ADCBAND | FADC250 | 4 | 15 | ADC | BAND | V05
# | L6 Group
S | 1 | ADCBAND | FADC250 | 5 | 0 | ADC | BAND | 111A_R
S | 1 | ADCBAND | FADC250 | 5 | 1 | ADC | BAND | 211A_R
S | 1 | ADCBAND | FADC250 | 5 | 2 | ADC | BAND | 311A_R
S | 1 | ADCBAND | FADC250 | 5 | 3 | ADC | BAND | 411A_R
S | 1 | ADCBAND | FADC250 | 5 | 4 | ADC | BAND | 511A_R
S | 1 | ADCBAND | FADC250 | 5 | 5 | ADC | BAND | 112A_R
S | 1 | ADCBAND | FADC250 | 5 | 6 | ADC | BAND | 212A_R
S | 1 | ADCBAND | FADC250 | 5 | 7 | ADC | BAND | 312A_R
S | 1 | ADCBAND | FADC250 | 5 | 8 | ADC | BAND | 412A_R
S | 1 | ADCBAND | FADC250 | 5 | 9 | ADC | BAND | 512A_R
S | 1 | ADCBAND | FADC250 | 5 | 10 | ADC | BAND | 113A_R
S | 1 | ADCBAND | FADC250 | 5 | 11 | ADC | BAND | 213A_R
S | 1 | ADCBAND | FADC250 | 5 | 12 | ADC | BAND | 313A_R
S | 1 | ADCBAND | FADC250 | 5 | 13 | ADC | BAND | 413A_R
S | 1 | ADCBAND | FADC250 | 5 | 14 | ADC | BAND | 513A_R
S | 1 | ADCBAND | FADC250 | 5 | 15 | ADC | BAND | empty
# | L7 Group
S | 1 | ADCBAND | FADC250 | 6 | 0 | ADC | BAND | 114A_R
S | 1 | ADCBAND | FADC250 | 6 | 1 | ADC | BAND | 214A_R
S | 1 | ADCBAND | FADC250 | 6 | 2 | ADC | BAND | 314A_R
S | 1 | ADCBAND | FADC250 | 6 | 3 | ADC | BAND | 414A_R
S | 1 | ADCBAND | FADC250 | 6 | 4 | ADC | BAND | 514A_R
S | 1 | ADCBAND | FADC250 | 6 | 5 | ADC | BAND | 115A_R
S | 1 | ADCBAND | FADC250 | 6 | 6 | ADC | BAND | 215A_R
S | 1 | ADCBAND | FADC250 | 6 | 7 | ADC | BAND | 315A_R
S | 1 | ADCBAND | FADC250 | 6 | 8 | ADC | BAND | 415A_R
S | 1 | ADCBAND | FADC250 | 6 | 9 | ADC | BAND | 515A_R
S | 1 | ADCBAND | FADC250 | 6 | 10 | ADC | BAND | 116A_R
S | 1 | ADCBAND | FADC250 | 6 | 11 | ADC | BAND | 216A_R
S | 1 | ADCBAND | FADC250 | 6 | 12 | ADC | BAND | 316A_R
S | 1 | ADCBAND | FADC250 | 6 | 13 | ADC | BAND | 416A_R
S | 1 | ADCBAND | FADC250 | 6 | 14 | ADC | BAND | empty
S | 1 | ADCBAND | FADC250 | 6 | 15 | ADC | BAND | empty
# | R4 Group | not used
S | 1 | ADCBAND | FADC250 | 12 | 0 | ADC | BAND | 110_R
S | 1 | ADCBAND | FADC250 | 12 | 1 | ADC | BAND | 210_R
S | 1 | ADCBAND | FADC250 | 12 | 2 | ADC | BAND | 310_R
S | 1 | ADCBAND | FADC250 | 12 | 3 | ADC | BAND | 410_R
S | 1 | ADCBAND | FADC250 | 12 | 4 | ADC | BAND | 510_R
S | 1 | ADCBAND | FADC250 | 12 | 5 | ADC | BAND | 111B_R
S | 1 | ADCBAND | FADC250 | 12 | 6 | ADC | BAND | 211B_R
S | 1 | ADCBAND | FADC250 | 12 | 7 | ADC | BAND | 311B_R
S | 1 | ADCBAND | FADC250 | 12 | 8 | ADC | BAND | 411B_R
S | 1 | ADCBAND | FADC250 | 12 | 9 | ADC | BAND | 511B_R
S | 1 | ADCBAND | FADC250 | 12 | 10 | ADC | BAND | 112B_R
S | 1 | ADCBAND | FADC250 | 12 | 11 | ADC | BAND | 212B_R
S | 1 | ADCBAND | FADC250 | 12 | 12 | ADC | BAND | 312B_R
S | 1 | ADCBAND | FADC250 | 12 | 13 | ADC | BAND | 412B_R
S | 1 | ADCBAND | FADC250 | 12 | 14 | ADC | BAND | 512B_R
S | 1 | ADCBAND | FADC250 | 12 | 15 | ADC | BAND | V14B
# | R5 Group
S | 1 | ADCBAND | FADC250 | 13 | 0 | ADC | BAND | 113B_R
S | 1 | ADCBAND | FADC250 | 13 | 1 | ADC | BAND | 213B_R
S | 1 | ADCBAND | FADC250 | 13 | 2 | ADC | BAND | 313B_R
S | 1 | ADCBAND | FADC250 | 13 | 3 | ADC | BAND | 413B_R
S | 1 | ADCBAND | FADC250 | 13 | 4 | ADC | BAND | 513B_R
S | 1 | ADCBAND | FADC250 | 13 | 5 | ADC | BAND | 114B_R
S | 1 | ADCBAND | FADC250 | 13 | 6 | ADC | BAND | 214B_R
S | 1 | ADCBAND | FADC250 | 13 | 7 | ADC | BAND | 314B_R
S | 1 | ADCBAND | FADC250 | 13 | 8 | ADC | BAND | 414B_R
S | 1 | ADCBAND | FADC250 | 13 | 9 | ADC | BAND | 514B_R
S | 1 | ADCBAND | FADC250 | 13 | 10 | ADC | BAND | 115B_R
S | 1 | ADCBAND | FADC250 | 13 | 11 | ADC | BAND | 215B_R
S | 1 | ADCBAND | FADC250 | 13 | 12 | ADC | BAND | 315B_R
S | 1 | ADCBAND | FADC250 | 13 | 13 | ADC | BAND | 415B_R
S | 1 | ADCBAND | FADC250 | 13 | 14 | ADC | BAND | 515B_R
S | 1 | ADCBAND | FADC250 | 13 | 15 | ADC | BAND | V15B
# | R6 Group
S | 1 | ADCBAND | FADC250 | 14 | 0 | ADC | BAND | 111B_L
S | 1 | ADCBAND | FADC250 | 14 | 1 | ADC | BAND | 211B_L
S | 1 | ADCBAND | FADC250 | 14 | 2 | ADC | BAND | 311B_L
S | 1 | ADCBAND | FADC250 | 14 | 3 | ADC | BAND | 411B_L
S | 1 | ADCBAND | FADC250 | 14 | 4 | ADC | BAND | 511B_L
S | 1 | ADCBAND | FADC250 | 14 | 5 | ADC | BAND | 112B_L
S | 1 | ADCBAND | FADC250 | 14 | 6 | ADC | BAND | 212B_L
S | 1 | ADCBAND | FADC250 | 14 | 7 | ADC | BAND | 312B_L
S | 1 | ADCBAND | FADC250 | 14 | 8 | ADC | BAND | 412B_L
S | 1 | ADCBAND | FADC250 | 14 | 9 | ADC | BAND | 512B_L
S | 1 | ADCBAND | FADC250 | 14 | 10 | ADC | BAND | 113B_L
S | 1 | ADCBAND | FADC250 | 14 | 11 | ADC | BAND | 213B_L
S | 1 | ADCBAND | FADC250 | 14 | 12 | ADC | BAND | 313B_L
S | 1 | ADCBAND | FADC250 | 14 | 13 | ADC | BAND | 413B_L
S | 1 | ADCBAND | FADC250 | 14 | 14 | ADC | BAND | 513B_L
S | 1 | ADCBAND | FADC250 | 14 | 15 | ADC | BAND | V16B
# | R7 Group
S | 1 | ADCBAND | FADC250 | 15 | 0 | ADC | BAND | 114B_L
S | 1 | ADCBAND | FADC250 | 15 | 1 | ADC | BAND | 214B_L
S | 1 | ADCBAND | FADC250 | 15 | 2 | ADC | BAND | 314B_L
S | 1 | ADCBAND | FADC250 | 15 | 3 | ADC | BAND | 414B_L
S | 1 | ADCBAND | FADC250 | 15 | 4 | ADC | BAND | 514B_L
S | 1 | ADCBAND | FADC250 | 15 | 5 | ADC | BAND | 115B_L
S | 1 | ADCBAND | FADC250 | 15 | 6 | ADC | BAND | 215B_L
S | 1 | ADCBAND | FADC250 | 15 | 7 | ADC | BAND | 315B_L
S | 1 | ADCBAND | FADC250 | 15 | 8 | ADC | BAND | 415B_L
S | 1 | ADCBAND | FADC250 | 15 | 9 | ADC | BAND | 515B_L
S | 1 | ADCBAND | FADC250 | 15 | 10 | ADC | BAND | 116B_L
S | 1 | ADCBAND | FADC250 | 15 | 11 | ADC | BAND | 216B_L
S | 1 | ADCBAND | FADC250 | 15 | 12 | ADC | BAND | 316B_L
S | 1 | ADCBAND | FADC250 | 15 | 13 | ADC | BAND | 416B_L
S | 1 | ADCBAND | FADC250 | 15 | 14 | ADC | BAND | empty
S | 1 | ADCBAND | FADC250 | 15 | 15 | ADC | BAND | empty