## Sheet1
Hall B RICH Hardware Interlock System EPICS Interface - S1 N2
PV # | Group # | Signal Category | LabVIEW_Signal_Name | Access Type | Data Type | EPICS Process Variable (PV) | Units
1 | 1 | Internal Status Monitoring | RICH_EPICS_Air_Pressure_#1 | Read Only | Double | B_DET_RICH_INTLK_AIRPR1 | atm
2 | 2 |  | RICH_EPICS_Airflow_#1 | Read Only | Double | B_DET_RICH_INTLK_AIRFLOW1 | slm
3 | 3 |  | RICH_EPICS_Airflow_#2 | Read Only | Double | B_DET_RICH_INTLK_AIRFLOW2 | slm
4 | 4 |  | RICH_EPICS_N2_Flow_#1 | Read Only | Double | B_DET_RICH_INTLK_N2FLOW1 | slm
5 | 5 |  | RICH_EPICS_N2_Flow_#2 | Read Only | Double | B_DET_RICH_INTLK_N2FLOW2 | slm
6 | 6 |  | RICH_EPICS_Humidity_#1 | Read Only | Double | B_DET_RICH_INTLK_HUMID1 | %
7 | 7 |  | RICH_EPICS_Humidity_#2 | Read Only | Double | B_DET_RICH_INTLK_HUMID2 | %
8 | 8 |  | RICH_EPICS_Humidity_#3 | Read Only | Double | B_DET_RICH_INTLK_HUMID3 | %
9 | 9 |  | RICH_EPICS_Humidity_#4 | Read Only | Double | B_DET_RICH_INTLK_HUMID4 | %
10 | 10 |  | RICH_EPICS_Humidity_#5 | Read Only | Double | B_DET_RICH_INTLK_HUMID5 | %
11 | 11 |  | RICH_EPICS_Humidity_#6 | Read Only | Double | B_DET_RICH_INTLK_HUMID6 | %
12 | 12 |  | RICH_EPICS_Humidity_#7 | Read Only | Double | B_DET_RICH_INTLK_HUMID7 | %
13 | 13 |  | RICH_EPICS_Humidity_#8 | Read Only | Double | B_DET_RICH_INTLK_HUMID8 | %
14 | 14 |  | RICH_EPICS_Humidity_#9 | Read Only | Double | B_DET_RICH_INTLK_HUMID9 | %
15 | 15 |  | RICH_EPICS_Humidity_#10 | Read Only | Double | B_DET_RICH_INTLK_HUMID10 | %
16 | 16 |  | RICH_EPICS_Humidity_#11 | Read Only | Double | B_DET_RICH_INTLK_HUMID11 | %
17 | 17 |  | RICH_EPICS_Humidity_#12 | Read Only | Double | B_DET_RICH_INTLK_HUMID12 | %
18 | 18 |  | RICH_EPICS_Humidity_#13 | Read Only | Double | B_DET_RICH_INTLK_HUMID13 | %
19 | 19 |  | RICH_EPICS_Humidity_#14 | Read Only | Double | B_DET_RICH_INTLK_HUMID14 | %
20 | 20 |  | RICH_EPICS_Humidity_#15 | Read Only | Double | B_DET_RICH_INTLK_HUMID15 | %
21 | 21 |  | RICH_EPICS_Humidity_#16 | Read Only | Double | B_DET_RICH_INTLK_HUMID16 | %
22 | 22 |  | RICH_EPICS_Temperature_#1 | Read Only | Double | B_DET_RICH_INTLK_TEMP1 | °C
23 | 23 |  | RICH_EPICS_Temperature_#2 | Read Only | Double | B_DET_RICH_INTLK_TEMP2 | °C
24 | 24 |  | RICH_EPICS_Temperature_#3 | Read Only | Double | B_DET_RICH_INTLK_TEMP3 | °C
25 | 25 |  | RICH_EPICS_Temperature_#4 | Read Only | Double | B_DET_RICH_INTLK_TEMP4 | °C
26 | 26 |  | RICH_EPICS_Temperature_#5 | Read Only | Double | B_DET_RICH_INTLK_TEMP5 | °C
27 | 27 |  | RICH_EPICS_Temperature_#6 | Read Only | Double | B_DET_RICH_INTLK_TEMP6 | °C
28 | 28 |  | RICH_EPICS_Temperature_#7 | Read Only | Double | B_DET_RICH_INTLK_TEMP7 | °C
29 | 29 |  | RICH_EPICS_Temperature_#8 | Read Only | Double | B_DET_RICH_INTLK_TEMP8 | °C
30 | 30 |  | RICH_EPICS_Temperature_#9 | Read Only | Double | B_DET_RICH_INTLK_TEMP9 | °C
31 | 31 |  | RICH_EPICS_Temperature_#10 | Read Only | Double | B_DET_RICH_INTLK_TEMP10 | °C
32 | 32 |  | RICH_EPICS_Temperature_#11 | Read Only | Double | B_DET_RICH_INTLK_TEMP11 | °C
33 | 33 |  | RICH_EPICS_Temperature_#12 | Read Only | Double | B_DET_RICH_INTLK_TEMP12 | °C
34 | 34 |  | RICH_EPICS_Temperature_#13 | Read Only | Double | B_DET_RICH_INTLK_TEMP13 | °C
35 | 35 |  | RICH_EPICS_Temperature_#14 | Read Only | Double | B_DET_RICH_INTLK_TEMP14 | °C
36 | 36 |  | RICH_EPICS_Temperature_#15 | Read Only | Double | B_DET_RICH_INTLK_TEMP15 | °C
37 | 37 |  | RICH_EPICS_Temperature_#16 | Read Only | Double | B_DET_RICH_INTLK_TEMP16 | °C
38 | 1 | Individual Sensor Interlock Status | RICH_EPICS_Air_Pressure_#1_Hi_Status | Read Only | Boolean | B_DET_RICH_INTLK_AIRPR1_HI_STATUS | N/A
39 | 2 |  | RICH_EPICS_Airflow_#1_Hi_Status | Read Only | Boolean | B_DET_RICH_INTLK_AIRFLOW1_HI_STATUS | N/A
40 | 3 |  | RICH_EPICS_Airflow_#2_Hi_Status | Read Only | Boolean | B_DET_RICH_INTLK_AIRFLOW2_HI_STATUS | N/A
41 | 4 |  | RICH_EPICS_N2_Flow_#1_Hi_Status | Read Only | Boolean | B_DET_RICH_INTLK_N2FLOW1_HI_STATUS | N/A
42 | 5 |  | RICH_EPICS_N2_Flow#2_Hi_Status | Read Only | Boolean | B_DET_RICH_INTLK_N2FLOW2_HI_STATUS | N/A
43 | 6 |  | RICH_EPICS_Humidity_#1_Hi_Status | Read Only | Boolean | B_DET_RICH_INTLK_HUMID1_HI_STATUS | N/A
44 | 7 |  | RICH_EPICS_Humidity_#2_Hi_Status | Read Only | Boolean | B_DET_RICH_INTLK_HUMID2_HI_STATUS | N/A
45 | 8 |  | RICH_EPICS_Humidity_#3_Hi_Status | Read Only | Boolean | B_DET_RICH_INTLK_HUMID3_HI_STATUS | N/A
46 | 9 |  | RICH_EPICS_Humidity_#4_Hi_Status | Read Only | Boolean | B_DET_RICH_INTLK_HUMID4_HI_STATUS | N/A
47 | 10 |  | RICH_EPICS_Humidity_#5_Hi_Status | Read Only | Boolean | B_DET_RICH_INTLK_HUMID5_HI_STATUS | N/A
48 | 11 |  | RICH_EPICS_Humidity_#6_Hi_Status | Read Only | Boolean | B_DET_RICH_INTLK_HUMID6_HI_STATUS | N/A
49 | 12 |  | RICH_EPICS_Humidity_#7_Hi_Status | Read Only | Boolean | B_DET_RICH_INTLK_HUMID7_HI_STATUS | N/A
50 | 13 |  | RICH_EPICS_Humidity_#8_Hi_Status | Read Only | Boolean | B_DET_RICH_INTLK_HUMID8_HI_STATUS | N/A
51 | 14 |  | RICH_EPICS_Humidity_#9_Hi_Status | Read Only | Boolean | B_DET_RICH_INTLK_HUMID9_HI_STATUS | N/A
52 | 15 |  | RICH_EPICS_Humidity_#10_Hi_Status | Read Only | Boolean | B_DET_RICH_INTLK_HUMID10_HI_STATUS | N/A
53 | 16 |  | RICH_EPICS_Humidity_#11_Hi_Status | Read Only | Boolean | B_DET_RICH_INTLK_HUMID11_HI_STATUS | N/A
54 | 17 |  | RICH_EPICS_Humidity_#12_Hi_Status | Read Only | Boolean | B_DET_RICH_INTLK_HUMID12_HI_STATUS | N/A
55 | 18 |  | RICH_EPICS_Humidity_#13_Hi_Status | Read Only | Boolean | B_DET_RICH_INTLK_HUMID13_HI_STATUS | N/A
56 | 19 |  | RICH_EPICS_Humidity_#14_Hi_Status | Read Only | Boolean | B_DET_RICH_INTLK_HUMID14_HI_STATUS | N/A
57 | 20 |  | RICH_EPICS_Humidity_#15_Hi_Status | Read Only | Boolean | B_DET_RICH_INTLK_HUMID15_HI_STATUS | N/A
58 | 21 |  | RICH_EPICS_Humidity_#16_Hi_Status | Read Only | Boolean | B_DET_RICH_INTLK_HUMID16_HI_STATUS | N/A
59 | 22 |  | RICH_EPICS_Temperature_#1_Hi_Status | Read Only | Boolean | B_DET_RICH_INTLK_TEMP1_HI_STATUS | N/A
60 | 23 |  | RICH_EPICS_Temperature_#2_Hi_Status | Read Only | Boolean | B_DET_RICH_INTLK_TEMP2_HI_STATUS | N/A
61 | 24 |  | RICH_EPICS_Temperature_#3_Hi_Status | Read Only | Boolean | B_DET_RICH_INTLK_TEMP3_HI_STATUS | N/A
62 | 25 |  | RICH_EPICS_Temperature_#4_Hi_Status | Read Only | Boolean | B_DET_RICH_INTLK_TEMP4_HI_STATUS | N/A
63 | 26 |  | RICH_EPICS_Temperature_#5_Hi_Status | Read Only | Boolean | B_DET_RICH_INTLK_TEMP5_HI_STATUS | N/A
64 | 27 |  | RICH_EPICS_Temperature_#6_Hi_Status | Read Only | Boolean | B_DET_RICH_INTLK_TEMP6_HI_STATUS | N/A
65 | 28 |  | RICH_EPICS_Temperature_#7_Hi_Status | Read Only | Boolean | B_DET_RICH_INTLK_TEMP7_HI_STATUS | N/A
66 | 29 |  | RICH_EPICS_Temperature_#8_Hi_Status | Read Only | Boolean | B_DET_RICH_INTLK_TEMP8_HI_STATUS | N/A
67 | 30 |  | RICH_EPICS_Temperature_#9_Hi_Status | Read Only | Boolean | B_DET_RICH_INTLK_TEMP9_HI_STATUS | N/A
68 | 31 |  | RICH_EPICS_Temperature_#10_Hi_Status | Read Only | Boolean | B_DET_RICH_INTLK_TEMP10_HI_STATUS | N/A
69 | 32 |  | RICH_EPICS_Temperature_#11_Hi_Status | Read Only | Boolean | B_DET_RICH_INTLK_TEMP11_HI_STATUS | N/A
70 | 33 |  | RICH_EPICS_Temperature_#12_Hi_Status | Read Only | Boolean | B_DET_RICH_INTLK_TEMP12_HI_STATUS | N/A
71 | 34 |  | RICH_EPICS_Temperature_#13_Hi_Status | Read Only | Boolean | B_DET_RICH_INTLK_TEMP13_HI_STATUS | N/A
72 | 35 |  | RICH_EPICS_Temperature_#14_Hi_Status | Read Only | Boolean | B_DET_RICH_INTLK_TEMP14_HI_STATUS | N/A
73 | 36 |  | RICH_EPICS_Temperature_#15_Hi_Status | Read Only | Boolean | B_DET_RICH_INTLK_TEMP15_HI_STATUS | N/A
74 | 37 |  | RICH_EPICS_Temperature_#16_Hi_Status | Read Only | Boolean | B_DET_RICH_INTLK_TEMP16_HI_STATUS | N/A
75 | 38 |  | RICH_EPICS_Air_Pressure_#1_Lo_Status | Read Only | Boolean | B_DET_RICH_INTLK_AIRPR1_LO_STATUS | N/A
76 | 39 |  | RICH_EPICS_Airflow_#1_Lo_Status | Read Only | Boolean | B_DET_RICH_INTLK_AIRFLOW1_LO_STATUS | N/A
77 | 40 |  | RICH_EPICS_Airflow_#2_Lo_Status | Read Only | Boolean | B_DET_RICH_INTLK_AIRFLOW2_LO_STATUS | N/A
78 | 41 |  | RICH_EPICS_N2_Flow_#1_Lo_Status | Read Only | Boolean | B_DET_RICH_INTLK_N2FLOW1_LO_STATUS | N/A
79 | 42 |  | RICH_EPICS_N2_Flow#2_Lo_Status | Read Only | Boolean | B_DET_RICH_INTLK_N2FLOW2_LO_STATUS | N/A
80 | 43 |  | RICH_EPICS_Humidity_#1_Lo_Status | Read Only | Boolean | B_DET_RICH_INTLK_HUMID1_LO_STATUS | N/A
81 | 44 |  | RICH_EPICS_Humidity_#2_Lo_Status | Read Only | Boolean | B_DET_RICH_INTLK_HUMID2_LO_STATUS | N/A
82 | 45 |  | RICH_EPICS_Humidity_#3_Lo_Status | Read Only | Boolean | B_DET_RICH_INTLK_HUMID3_LO_STATUS | N/A
83 | 46 |  | RICH_EPICS_Humidity_#4_Lo_Status | Read Only | Boolean | B_DET_RICH_INTLK_HUMID4_LO_STATUS | N/A
84 | 47 |  | RICH_EPICS_Humidity_#5_Lo_Status | Read Only | Boolean | B_DET_RICH_INTLK_HUMID5_LO_STATUS | N/A
85 | 48 |  | RICH_EPICS_Humidity_#6_Lo_Status | Read Only | Boolean | B_DET_RICH_INTLK_HUMID6_LO_STATUS | N/A
86 | 49 |  | RICH_EPICS_Humidity_#7_Lo_Status | Read Only | Boolean | B_DET_RICH_INTLK_HUMID7_LO_STATUS | N/A
87 | 50 |  | RICH_EPICS_Humidity_#8_Lo_Status | Read Only | Boolean | B_DET_RICH_INTLK_HUMID8_LO_STATUS | N/A
88 | 51 |  | RICH_EPICS_Humidity_#9_Lo_Status | Read Only | Boolean | B_DET_RICH_INTLK_HUMID9_LO_STATUS | N/A
89 | 52 |  | RICH_EPICS_Humidity_#10_Lo_Status | Read Only | Boolean | B_DET_RICH_INTLK_HUMID10_LO_STATUS | N/A
90 | 53 |  | RICH_EPICS_Humidity_#11_Lo_Status | Read Only | Boolean | B_DET_RICH_INTLK_HUMID11_LO_STATUS | N/A
91 | 54 |  | RICH_EPICS_Humidity_#12_Lo_Status | Read Only | Boolean | B_DET_RICH_INTLK_HUMID12_LO_STATUS | N/A
92 | 55 |  | RICH_EPICS_Humidity_#13_Lo_Status | Read Only | Boolean | B_DET_RICH_INTLK_HUMID13_LO_STATUS | N/A
93 | 56 |  | RICH_EPICS_Humidity_#14_Lo_Status | Read Only | Boolean | B_DET_RICH_INTLK_HUMID14_LO_STATUS | N/A
94 | 57 |  | RICH_EPICS_Humidity_#15_Lo_Status | Read Only | Boolean | B_DET_RICH_INTLK_HUMID15_LO_STATUS | N/A
95 | 58 |  | RICH_EPICS_Humidity_#16_Lo_Status | Read Only | Boolean | B_DET_RICH_INTLK_HUMID16_LO_STATUS | N/A
96 | 59 |  | RICH_EPICS_Temperature_#1_Lo_Status | Read Only | Boolean | B_DET_RICH_INTLK_TEMP1_LO_STATUS | N/A
97 | 60 |  | RICH_EPICS_Temperature_#2_Lo_Status | Read Only | Boolean | B_DET_RICH_INTLK_TEMP2_LO_STATUS | N/A
98 | 61 |  | RICH_EPICS_Temperature_#3_Lo_Status | Read Only | Boolean | B_DET_RICH_INTLK_TEMP3_LO_STATUS | N/A
99 | 62 |  | RICH_EPICS_Temperature_#4_Lo_Status | Read Only | Boolean | B_DET_RICH_INTLK_TEMP4_LO_STATUS | N/A
100 | 63 |  | RICH_EPICS_Temperature_#5_Lo_Status | Read Only | Boolean | B_DET_RICH_INTLK_TEMP5_LO_STATUS | N/A
101 | 64 |  | RICH_EPICS_Temperature_#6_Lo_Status | Read Only | Boolean | B_DET_RICH_INTLK_TEMP6_LO_STATUS | N/A
102 | 65 |  | RICH_EPICS_Temperature_#7_Lo_Status | Read Only | Boolean | B_DET_RICH_INTLK_TEMP7_LO_STATUS | N/A
103 | 66 |  | RICH_EPICS_Temperature_#8_Lo_Status | Read Only | Boolean | B_DET_RICH_INTLK_TEMP8_LO_STATUS | N/A
104 | 67 |  | RICH_EPICS_Temperature_#9_Lo_Status | Read Only | Boolean | B_DET_RICH_INTLK_TEMP9_LO_STATUS | N/A
105 | 68 |  | RICH_EPICS_Temperature_#10_Lo_Status | Read Only | Boolean | B_DET_RICH_INTLK_TEMP10_LO_STATUS | N/A
106 | 69 |  | RICH_EPICS_Temperature_#11_Lo_Status | Read Only | Boolean | B_DET_RICH_INTLK_TEMP11_LO_STATUS | N/A
107 | 70 |  | RICH_EPICS_Temperature_#12_Lo_Status | Read Only | Boolean | B_DET_RICH_INTLK_TEMP12_LO_STATUS | N/A
108 | 71 |  | RICH_EPICS_Temperature_#13_Lo_Status | Read Only | Boolean | B_DET_RICH_INTLK_TEMP13_LO_STATUS | N/A
109 | 72 |  | RICH_EPICS_Temperature_#14_Lo_Status | Read Only | Boolean | B_DET_RICH_INTLK_TEMP14_LO_STATUS | N/A
110 | 73 |  | RICH_EPICS_Temperature_#15_Lo_Status | Read Only | Boolean | B_DET_RICH_INTLK_TEMP15_LO_STATUS | N/A
111 | 74 |  | RICH_EPICS_Temperature_#16_Lo_Status | Read Only | Boolean | B_DET_RICH_INTLK_TEMP16_LO_STATUS | N/A
112 | 1 | Sum of Any Interlock Status | RICH_EPICS_Any_Interlock_Over_Limit? | Read Only | Boolean | B_DET_RICH_INTLK_ANY_OVERLIMIT | N/A
113 | 1 | Sum of Air Pressure Status | RICH_EPICS_Air_Pressure_Status | Read Only | Boolean | B_DET_RICH_INTLK_AIRPR_STATUS | N/A
114 | 1 | Sum of Airflow Status | RICH_EPICS_Airflow_Status | Read Only | Boolean | B_DET_RICH_INTLK_AIRFLOW_STATUS | N/A
115 | 1 | Sum of N2 Flow Status | RICH_EPICS_N2_Flow_Status | Read Only | Boolean | B_DET_RICH_INTLK_N2FLOW_STATUS | N/A
116 | 1 | Sum of Humidity Status | RICH_EPICS_Humidity_Status | Read Only | Boolean | B_DET_RICH_INTLK_HUMID_STATUS | N/A
117 | 1 | Sum of Temperature Status | RICH_EPICS_Temperature_Status | Read Only | Boolean | B_DET_RICH_INTLK_TEMP_STATUS | N/A
118 | 1 | Individual Sensor Latched Errors | RICH_EPICS_Air_Pressure_#1_Hi_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_AIRPR1_LATCHED_HI_ERR | N/A
119 | 2 |  | RICH_EPICS_Airflow_#1_Hi_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_AIRFLOW1_LATCHED_HI_ERR | N/A
120 | 3 |  | RICH_EPICS_Airflow_#2_Hi_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_AIRFLOW2_LATCHED_HI_ERR | N/A
121 | 4 |  | RICH_EPICS_N2_Flow_#1_Hi_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_N2FLOW1_LATCHED_HI_ERR | N/A
122 | 5 |  | RICH_EPICS_N2_Flow#2_Hi_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_N2FLOW2_LATCHED_HI_ERR | N/A
123 | 6 |  | RICH_EPICS_Humidity_#1_Hi_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_HUMID1_LATCHED_HI_ERR | N/A
124 | 7 |  | RICH_EPICS_Humidity_#2_Hi_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_HUMID2_LATCHED_HI_ERR | N/A
125 | 8 |  | RICH_EPICS_Humidity_#3_Hi_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_HUMID3_LATCHED_HI_ERR | N/A
126 | 9 |  | RICH_EPICS_Humidity_#4_Hi_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_HUMID4_LATCHED_HI_ERR | N/A
127 | 10 |  | RICH_EPICS_Humidity_#5_Hi_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_HUMID5_LATCHED_HI_ERR | N/A
128 | 11 |  | RICH_EPICS_Humidity_#6_Hi_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_HUMID6_LATCHED_HI_ERR | N/A
129 | 12 |  | RICH_EPICS_Humidity_#7_Hi_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_HUMID7_LATCHED_HI_ERR | N/A
130 | 13 |  | RICH_EPICS_Humidity_#8_Hi_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_HUMID8_LATCHED_HI_ERR | N/A
131 | 14 |  | RICH_EPICS_Humidity_#9_Hi_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_HUMID9_LATCHED_HI_ERR | N/A
132 | 15 |  | RICH_EPICS_Humidity_#10_Hi_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_HUMID10_LATCHED_HI_ERR | N/A
133 | 16 |  | RICH_EPICS_Humidity_#11_Hi_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_HUMID11_LATCHED_HI_ERR | N/A
134 | 17 |  | RICH_EPICS_Humidity_#12_Hi_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_HUMID12_LATCHED_HI_ERR | N/A
135 | 18 |  | RICH_EPICS_Humidity_#13_Hi_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_HUMID13_LATCHED_HI_ERR | N/A
136 | 19 |  | RICH_EPICS_Humidity_#14_Hi_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_HUMID14_LATCHED_HI_ERR | N/A
137 | 20 |  | RICH_EPICS_Humidity_#15_Hi_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_HUMID15_LATCHED_HI_ERR | N/A
138 | 21 |  | RICH_EPICS_Humidity_#16_Hi_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_HUMID16_LATCHED_HI_ERR | N/A
139 | 22 |  | RICH_EPICS_Temperature_#1_Hi_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_TEMP1_LATCHED_HI_ERR | N/A
140 | 23 |  | RICH_EPICS_Temperature_#2_Hi_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_TEMP2_LATCHED_HI_ERR | N/A
141 | 24 |  | RICH_EPICS_Temperature_#3_Hi_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_TEMP3_LATCHED_HI_ERR | N/A
142 | 25 |  | RICH_EPICS_Temperature_#4_Hi_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_TEMP4_LATCHED_HI_ERR | N/A
143 | 26 |  | RICH_EPICS_Temperature_#5_Hi_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_TEMP5_LATCHED_HI_ERR | N/A
144 | 27 |  | RICH_EPICS_Temperature_#6_Hi_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_TEMP6_LATCHED_HI_ERR | N/A
145 | 28 |  | RICH_EPICS_Temperature_#7_Hi_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_TEMP7_LATCHED_HI_ERR | N/A
146 | 29 |  | RICH_EPICS_Temperature_#8_Hi_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_TEMP8_LATCHED_HI_ERR | N/A
147 | 30 |  | RICH_EPICS_Temperature_#9_Hi_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_TEMP9_LATCHED_HI_ERR | N/A
148 | 31 |  | RICH_EPICS_Temperature_#10_Hi_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_TEMP10_LATCHED_HI_ERR | N/A
149 | 32 |  | RICH_EPICS_Temperature_#11_Hi_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_TEMP11_LATCHED_HI_ERR | N/A
150 | 33 |  | RICH_EPICS_Temperature_#12_Hi_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_TEMP12_LATCHED_HI_ERR | N/A
151 | 34 |  | RICH_EPICS_Temperature_#13_Hi_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_TEMP13_LATCHED_HI_ERR | N/A
152 | 35 |  | RICH_EPICS_Temperature_#14_Hi_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_TEMP14_LATCHED_HI_ERR | N/A
153 | 36 |  | RICH_EPICS_Temperature_#15_Hi_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_TEMP15_LATCHED_HI_ERR | N/A
154 | 37 |  | RICH_EPICS_Temperature_#16_Hi_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_TEMP16_LATCHED_HI_ERR | N/A
155 | 38 |  | RICH_EPICS_Air_Pressure_#1_Lo_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_AIRPR1_LATCHED_LO_ERR | N/A
156 | 39 |  | RICH_EPICS_Airflow_#1_Lo_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_AIRFLOW1_LATCHED_LO_ERR | N/A
157 | 40 |  | RICH_EPICS_Airflow_#2_Lo_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_AIRFLOW2_LATCHED_LO_ERR | N/A
158 | 41 |  | RICH_EPICS_N2_Flow_#1_Lo_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_N2FLOW1_LATCHED_LO_ERR | N/A
159 | 42 |  | RICH_EPICS_N2_Flow#2_Lo_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_N2FLOW2_LATCHED_LO_ERR | N/A
160 | 43 |  | RICH_EPICS_Humidity_#1_Lo_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_HUMID1_LATCHED_LO_ERR | N/A
161 | 44 |  | RICH_EPICS_Humidity_#2_Lo_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_HUMID2_LATCHED_LO_ERR | N/A
162 | 45 |  | RICH_EPICS_Humidity_#3_Lo_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_HUMID3_LATCHED_LO_ERR | N/A
163 | 46 |  | RICH_EPICS_Humidity_#4_Lo_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_HUMID4_LATCHED_LO_ERR | N/A
164 | 47 |  | RICH_EPICS_Humidity_#5_Lo_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_HUMID5_LATCHED_LO_ERR | N/A
165 | 48 |  | RICH_EPICS_Humidity_#6_Lo_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_HUMID6_LATCHED_LO_ERR | N/A
166 | 49 |  | RICH_EPICS_Humidity_#7_Lo_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_HUMID7_LATCHED_LO_ERR | N/A
167 | 50 |  | RICH_EPICS_Humidity_#8_Lo_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_HUMID8_LATCHED_LO_ERR | N/A
168 | 51 |  | RICH_EPICS_Humidity_#9_Lo_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_HUMID9_LATCHED_LO_ERR | N/A
169 | 52 |  | RICH_EPICS_Humidity_#10_Lo_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_HUMID10_LATCHED_LO_ERR | N/A
170 | 53 |  | RICH_EPICS_Humidity_#11_Lo_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_HUMID11_LATCHED_LO_ERR | N/A
171 | 54 |  | RICH_EPICS_Humidity_#12_Lo_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_HUMID12_LATCHED_LO_ERR | N/A
172 | 55 |  | RICH_EPICS_Humidity_#13_Lo_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_HUMID13_LATCHED_LO_ERR | N/A
173 | 56 |  | RICH_EPICS_Humidity_#14_Lo_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_HUMID14_LATCHED_LO_ERR | N/A
174 | 57 |  | RICH_EPICS_Humidity_#15_Lo_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_HUMID15_LATCHED_LO_ERR | N/A
175 | 58 |  | RICH_EPICS_Humidity_#16_Lo_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_HUMID16_LATCHED_LO_ERR | N/A
176 | 59 |  | RICH_EPICS_Temperature_#1_Lo_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_TEMP1_LATCHED_LO_ERR | N/A
177 | 60 |  | RICH_EPICS_Temperature_#2_Lo_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_TEMP2_LATCHED_LO_ERR | N/A
178 | 61 |  | RICH_EPICS_Temperature_#3_Lo_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_TEMP3_LATCHED_LO_ERR | N/A
179 | 62 |  | RICH_EPICS_Temperature_#4_Lo_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_TEMP4_LATCHED_LO_ERR | N/A
180 | 63 |  | RICH_EPICS_Temperature_#5_Lo_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_TEMP5_LATCHED_LO_ERR | N/A
181 | 64 |  | RICH_EPICS_Temperature_#6_Lo_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_TEMP6_LATCHED_LO_ERR | N/A
182 | 65 |  | RICH_EPICS_Temperature_#7_Lo_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_TEMP7_LATCHED_LO_ERR | N/A
183 | 66 |  | RICH_EPICS_Temperature_#8_Lo_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_TEMP8_LATCHED_LO_ERR | N/A
184 | 67 |  | RICH_EPICS_Temperature_#9_Lo_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_TEMP9_LATCHED_LO_ERR | N/A
185 | 68 |  | RICH_EPICS_Temperature_#10_Lo_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_TEMP10_LATCHED_LO_ERR | N/A
186 | 69 |  | RICH_EPICS_Temperature_#11_Lo_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_TEMP11_LATCHED_LO_ERR | N/A
187 | 70 |  | RICH_EPICS_Temperature_#12_Lo_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_TEMP12_LATCHED_LO_ERR | N/A
188 | 71 |  | RICH_EPICS_Temperature_#13_Lo_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_TEMP13_LATCHED_LO_ERR | N/A
189 | 72 |  | RICH_EPICS_Temperature_#14_Lo_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_TEMP14_LATCHED_LO_ERR | N/A
190 | 73 |  | RICH_EPICS_Temperature_#15_Lo_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_TEMP15_LATCHED_LO_ERR | N/A
191 | 74 |  | RICH_EPICS_Temperature_#16_Lo_Latched_Error | Read Only | Boolean | B_DET_RICH_INTLK_TEMP16_LATCHED_LO_ERR | N/A
192 | 1 | Reset of All Latched Errors | RICH_EPICS_Reset_Latched_Errors | Read Only | Boolean | B_DET_RICH_INTLK_RESET_LATCHED_ERR | N/A
193 | 1 | Sum of Air Pressure Latched Errors | RICH_EPICS_Air_Pressure_Latched_Errors | Read Only | Boolean | B_DET_RICH_INTLK_AIRPR_LATCHED_ERR | N/A
194 | 1 | Sum of Airflow Latched Errors | RICH_EPICS_Airflow_Latched_Errors | Read Only | Boolean | B_DET_RICH_INTLK_AIRFLOW_LATCHED_ERR | N/A
195 | 1 | Sum of N2 Flow Latched Errors | RICH_EPICS_N2_Flow_Latched_Errors | Read Only | Boolean | B_DET_RICH_INTLK_N2FLOW_LATCHED_ERR | N/A
196 | 1 | Sum of Humidity Latched Errors | RICH_EPICS_Humidity_Latched_Errors | Read Only | Boolean | B_DET_RICH_INTLK_HUMID_LATCHED_ERR | N/A
197 | 1 | Sum of Temperature Latched Errors | RICH_EPICS_Temperature_Latched_Errors | Read Only | Boolean | B_DET_RICH_INTLK_TEMP_LATCHED_ERR | N/A
198 | 1 | Individual Sensor Interlock Enables | RICH_EPICS_Air_Pressure_#1_Sensor_Enable | Read/Write | Boolean | B_DET_RICH_INTLK_AIRPR1_ENABLE | N/A
199 | 2 |  | RICH_EPICS_Airflow_#1_Sensor_Enable | Read/Write | Boolean | B_DET_RICH_INTLK_AIRFLOW1_ENABLE | N/A
200 | 3 |  | RICH_EPICS_Airflow_#2_Sensor_Enable | Read/Write | Boolean | B_DET_RICH_INTLK_AIRFLOW2_ENABLE | N/A
201 | 4 |  | RICH_EPICS_N2_Flow_#1_Sensor_Enable | Read/Write | Boolean | B_DET_RICH_INTLK_N2FLOW1_ENABLE | N/A
202 | 5 |  | RICH_EPICS_N2_Flow#2_Sensor_Enable | Read/Write | Boolean | B_DET_RICH_INTLK_N2FLOW2_ENABLE | N/A
203 | 6 |  | RICH_EPICS_Humidity_#1_Sensor_Enable | Read/Write | Boolean | B_DET_RICH_INTLK_HUMID1_ENABLE | N/A
204 | 7 |  | RICH_EPICS_Humidity_#2_Sensor_Enable | Read/Write | Boolean | B_DET_RICH_INTLK_HUMID2_ENABLE | N/A
205 | 8 |  | RICH_EPICS_Humidity_#3_Sensor_Enable | Read/Write | Boolean | B_DET_RICH_INTLK_HUMID3_ENABLE | N/A
206 | 9 |  | RICH_EPICS_Humidity_#4_Sensor_Enable | Read/Write | Boolean | B_DET_RICH_INTLK_HUMID4_ENABLE | N/A
207 | 10 |  | RICH_EPICS_Humidity_#5_Sensor_Enable | Read/Write | Boolean | B_DET_RICH_INTLK_HUMID5_ENABLE | N/A
208 | 11 |  | RICH_EPICS_Humidity_#6_Sensor_Enable | Read/Write | Boolean | B_DET_RICH_INTLK_HUMID6_ENABLE | N/A
209 | 12 |  | RICH_EPICS_Humidity_#7_Sensor_Enable | Read/Write | Boolean | B_DET_RICH_INTLK_HUMID7_ENABLE | N/A
210 | 13 |  | RICH_EPICS_Humidity_#8_Sensor_Enable | Read/Write | Boolean | B_DET_RICH_INTLK_HUMID8_ENABLE | N/A
211 | 14 |  | RICH_EPICS_Humidity_#9_Sensor_Enable | Read/Write | Boolean | B_DET_RICH_INTLK_HUMID9_ENABLE | N/A
212 | 15 |  | RICH_EPICS_Humidity_#10_Sensor_Enable | Read/Write | Boolean | B_DET_RICH_INTLK_HUMID10_ENABLE | N/A
213 | 16 |  | RICH_EPICS_Humidity_#11_Sensor_Enable | Read/Write | Boolean | B_DET_RICH_INTLK_HUMID11_ENABLE | N/A
214 | 17 |  | RICH_EPICS_Humidity_#12_Sensor_Enable | Read/Write | Boolean | B_DET_RICH_INTLK_HUMID12_ENABLE | N/A
215 | 18 |  | RICH_EPICS_Humidity_#13_Sensor_Enable | Read/Write | Boolean | B_DET_RICH_INTLK_HUMID13_ENABLE | N/A
216 | 19 |  | RICH_EPICS_Humidity_#14_Sensor_Enable | Read/Write | Boolean | B_DET_RICH_INTLK_HUMID14_ENABLE | N/A
217 | 20 |  | RICH_EPICS_Humidity_#15_Sensor_Enable | Read/Write | Boolean | B_DET_RICH_INTLK_HUMID15_ENABLE | N/A
218 | 21 |  | RICH_EPICS_Humidity_#16_Sensor_Enable | Read/Write | Boolean | B_DET_RICH_INTLK_HUMID16_ENABLE | N/A
219 | 22 |  | RICH_EPICS_Temperature_#1_Sensor_Enable | Read/Write | Boolean | B_DET_RICH_INTLK_TEMP1_ENABLE | N/A
220 | 23 |  | RICH_EPICS_Temperature_#2_Sensor_Enable | Read/Write | Boolean | B_DET_RICH_INTLK_TEMP2_ENABLE | N/A
221 | 24 |  | RICH_EPICS_Temperature_#3_Sensor_Enable | Read/Write | Boolean | B_DET_RICH_INTLK_TEMP3_ENABLE | N/A
222 | 25 |  | RICH_EPICS_Temperature_#4_Sensor_Enable | Read/Write | Boolean | B_DET_RICH_INTLK_TEMP4_ENABLE | N/A
223 | 26 |  | RICH_EPICS_Temperature_#5_Sensor_Enable | Read/Write | Boolean | B_DET_RICH_INTLK_TEMP5_ENABLE | N/A
224 | 27 |  | RICH_EPICS_Temperature_#6_Sensor_Enable | Read/Write | Boolean | B_DET_RICH_INTLK_TEMP6_ENABLE | N/A
225 | 28 |  | RICH_EPICS_Temperature_#7_Sensor_Enable | Read/Write | Boolean | B_DET_RICH_INTLK_TEMP7_ENABLE | N/A
226 | 29 |  | RICH_EPICS_Temperature_#8_Sensor_Enable | Read/Write | Boolean | B_DET_RICH_INTLK_TEMP8_ENABLE | N/A
227 | 30 |  | RICH_EPICS_Temperature_#9_Sensor_Enable | Read/Write | Boolean | B_DET_RICH_INTLK_TEMP9_ENABLE | N/A
228 | 31 |  | RICH_EPICS_Temperature_#10_Sensor_Enable | Read/Write | Boolean | B_DET_RICH_INTLK_TEMP10_ENABLE | N/A
229 | 32 |  | RICH_EPICS_Temperature_#11_Sensor_Enable | Read/Write | Boolean | B_DET_RICH_INTLK_TEMP11_ENABLE | N/A
230 | 33 |  | RICH_EPICS_Temperature_#12_Sensor_Enable | Read/Write | Boolean | B_DET_RICH_INTLK_TEMP12_ENABLE | N/A
231 | 34 |  | RICH_EPICS_Temperature_#13_Sensor_Enable | Read/Write | Boolean | B_DET_RICH_INTLK_TEMP13_ENABLE | N/A
232 | 35 |  | RICH_EPICS_Temperature_#14_Sensor_Enable | Read/Write | Boolean | B_DET_RICH_INTLK_TEMP14_ENABLE | N/A
233 | 36 |  | RICH_EPICS_Temperature_#15_Sensor_Enable | Read/Write | Boolean | B_DET_RICH_INTLK_TEMP15_ENABLE | N/A
234 | 37 |  | RICH_EPICS_Temperature_#16_Sensor_Enable | Read/Write | Boolean | B_DET_RICH_INTLK_TEMP16_ENABLE | N/A
235 | 1 | Individual Sensor Threshold Control | RICH_EPICS_Air_Pressure_#1_Hi_Limit | Read/Write | Double | B_DET_RICH_AIRPR1_HI | atm
236 | 2 |  | RICH_EPICS_Airflow_#1_Hi_Limit | Read/Write | Double | B_DET_RICH_AIRFLOW1_HI | slm
237 | 3 |  | RICH_EPICS_Airflow_#2_Hi_Limit | Read/Write | Double | B_DET_RICH_AIRFLOW2_HI | slm
238 | 4 |  | RICH_EPICS_N2_Flow_#1_Hi_Limit | Read/Write | Double | B_DET_RICH_N2FLOW1_HI | slm
239 | 5 |  | RICH_EPICS_N2_Flow#2_Hi_Limit | Read/Write | Double | B_DET_RICH_N2FLOW2_HI | slm
240 | 6 |  | RICH_EPICS_Humidity_#1_Hi_Limit | Read/Write | Double | B_DET_RICH_HUMID1_HI | %
241 | 7 |  | RICH_EPICS_Humidity_#2_Hi_Limit | Read/Write | Double | B_DET_RICH_HUMID2_HI | %
242 | 8 |  | RICH_EPICS_Humidity_#3_Hi_Limit | Read/Write | Double | B_DET_RICH_HUMID3_HI | %
243 | 9 |  | RICH_EPICS_Humidity_#4_Hi_Limit | Read/Write | Double | B_DET_RICH_HUMID4_HI | %
244 | 10 |  | RICH_EPICS_Humidity_#5_Hi_Limit | Read/Write | Double | B_DET_RICH_HUMID5_HI | %
245 | 11 |  | RICH_EPICS_Humidity_#6_Hi_Limit | Read/Write | Double | B_DET_RICH_HUMID6_HI | %
246 | 12 |  | RICH_EPICS_Humidity_#7_Hi_Limit | Read/Write | Double | B_DET_RICH_HUMID7_HI | %
247 | 13 |  | RICH_EPICS_Humidity_#8_Hi_Limit | Read/Write | Double | B_DET_RICH_HUMID8_HI | %
248 | 14 |  | RICH_EPICS_Humidity_#9_Hi_Limit | Read/Write | Double | B_DET_RICH_HUMID9_HI | %
249 | 15 |  | RICH_EPICS_Humidity_#10_Hi_Limit | Read/Write | Double | B_DET_RICH_HUMID10_HI | %
250 | 16 |  | RICH_EPICS_Humidity_#11_Hi_Limit | Read/Write | Double | B_DET_RICH_HUMID11_HI | %
251 | 17 |  | RICH_EPICS_Humidity_#12_Hi_Limit | Read/Write | Double | B_DET_RICH_HUMID12_HI | %
252 | 18 |  | RICH_EPICS_Humidity_#13_Hi_Limit | Read/Write | Double | B_DET_RICH_HUMID13_HI | %
253 | 19 |  | RICH_EPICS_Humidity_#14_Hi_Limit | Read/Write | Double | B_DET_RICH_HUMID14_HI | %
254 | 20 |  | RICH_EPICS_Humidity_#15_Hi_Limit | Read/Write | Double | B_DET_RICH_HUMID15_HI | %
255 | 21 |  | RICH_EPICS_Humidity_#16_Hi_Limit | Read/Write | Double | B_DET_RICH_HUMID16_HI | %
256 | 22 |  | RICH_EPICS_Temperature_#1_Hi_Limit | Read/Write | Double | B_DET_RICH_TEMP1_HI | °C
257 | 23 |  | RICH_EPICS_Temperature_#2_Hi_Limit | Read/Write | Double | B_DET_RICH_TEMP2_HI | °C
258 | 24 |  | RICH_EPICS_Temperature_#3_Hi_Limit | Read/Write | Double | B_DET_RICH_TEMP3_HI | °C
259 | 25 |  | RICH_EPICS_Temperature_#4_Hi_Limit | Read/Write | Double | B_DET_RICH_TEMP4_HI | °C
260 | 26 |  | RICH_EPICS_Temperature_#5_Hi_Limit | Read/Write | Double | B_DET_RICH_TEMP5_HI | °C
261 | 27 |  | RICH_EPICS_Temperature_#6_Hi_Limit | Read/Write | Double | B_DET_RICH_TEMP6_HI | °C
262 | 28 |  | RICH_EPICS_Temperature_#7_Hi_Limit | Read/Write | Double | B_DET_RICH_TEMP7_HI | °C
263 | 29 |  | RICH_EPICS_Temperature_#8_Hi_Limit | Read/Write | Double | B_DET_RICH_TEMP8_HI | °C
264 | 30 |  | RICH_EPICS_Temperature_#9_Hi_Limit | Read/Write | Double | B_DET_RICH_TEMP9_HI | °C
265 | 31 |  | RICH_EPICS_Temperature_#10_Hi_Limit | Read/Write | Double | B_DET_RICH_TEMP10_HI | °C
266 | 32 |  | RICH_EPICS_Temperature_#11_Hi_Limit | Read/Write | Double | B_DET_RICH_TEMP11_HI | °C
267 | 33 |  | RICH_EPICS_Temperature_#12_Hi_Limit | Read/Write | Double | B_DET_RICH_TEMP12_HI | °C
268 | 34 |  | RICH_EPICS_Temperature_#13_Hi_Limit | Read/Write | Double | B_DET_RICH_TEMP13_HI | °C
269 | 35 |  | RICH_EPICS_Temperature_#14_Hi_Limit | Read/Write | Double | B_DET_RICH_TEMP14_HI | °C
270 | 36 |  | RICH_EPICS_Temperature_#15_Hi_Limit | Read/Write | Double | B_DET_RICH_TEMP15_HI | °C
271 | 37 |  | RICH_EPICS_Temperature_#16_Hi_Limit | Read/Write | Double | B_DET_RICH_TEMP16_HI | °C
272 | 38 |  | RICH_EPICS_Air_Pressure_#1_Lo_Limit | Read/Write | Double | B_DET_RICH_AIRPR1_LO | atm
273 | 39 |  | RICH_EPICS_Airflow_#1_Lo_Limit | Read/Write | Double | B_DET_RICH_AIRFLOW1_LO | slm
274 | 40 |  | RICH_EPICS_Airflow_#2_Lo_Limit | Read/Write | Double | B_DET_RICH_AIRFLOW2_LO | slm
275 | 41 |  | RICH_EPICS_N2_Flow_#1_Lo_Limit | Read/Write | Double | B_DET_RICH_N2FLOW1_LO | slm
276 | 42 |  | RICH_EPICS_N2_Flow#2_Lo_Limit | Read/Write | Double | B_DET_RICH_N2FLOW2_LO | slm
277 | 43 |  | RICH_EPICS_Humidity_#1_Lo_Limit | Read/Write | Double | B_DET_RICH_HUMID1_LO | %
278 | 44 |  | RICH_EPICS_Humidity_#2_Lo_Limit | Read/Write | Double | B_DET_RICH_HUMID2_LO | %
279 | 45 |  | RICH_EPICS_Humidity_#3_Lo_Limit | Read/Write | Double | B_DET_RICH_HUMID3_LO | %
280 | 46 |  | RICH_EPICS_Humidity_#4_Lo_Limit | Read/Write | Double | B_DET_RICH_HUMID4_LO | %
281 | 47 |  | RICH_EPICS_Humidity_#5_Lo_Limit | Read/Write | Double | B_DET_RICH_HUMID5_LO | %
282 | 48 |  | RICH_EPICS_Humidity_#6_Lo_Limit | Read/Write | Double | B_DET_RICH_HUMID6_LO | %
283 | 49 |  | RICH_EPICS_Humidity_#7_Lo_Limit | Read/Write | Double | B_DET_RICH_HUMID7_LO | %
284 | 50 |  | RICH_EPICS_Humidity_#8_Lo_Limit | Read/Write | Double | B_DET_RICH_HUMID8_LO | %
285 | 51 |  | RICH_EPICS_Humidity_#9_Lo_Limit | Read/Write | Double | B_DET_RICH_HUMID9_LO | %
286 | 52 |  | RICH_EPICS_Humidity_#10_Lo_Limit | Read/Write | Double | B_DET_RICH_HUMID10_LO | %
287 | 53 |  | RICH_EPICS_Humidity_#11_Lo_Limit | Read/Write | Double | B_DET_RICH_HUMID11_LO | %
288 | 54 |  | RICH_EPICS_Humidity_#12_Lo_Limit | Read/Write | Double | B_DET_RICH_HUMID12_LO | %
289 | 55 |  | RICH_EPICS_Humidity_#13_Lo_Limit | Read/Write | Double | B_DET_RICH_HUMID13_LO | %
290 | 56 |  | RICH_EPICS_Humidity_#14_Lo_Limit | Read/Write | Double | B_DET_RICH_HUMID14_LO | %
291 | 57 |  | RICH_EPICS_Humidity_#15_Lo_Limit | Read/Write | Double | B_DET_RICH_HUMID15_LO | %
292 | 58 |  | RICH_EPICS_Humidity_#16_Lo_Limit | Read/Write | Double | B_DET_RICH_HUMID16_LO | %
293 | 59 |  | RICH_EPICS_Temperature_#1_Lo_Limit | Read/Write | Double | B_DET_RICH_TEMP1_LO | °C
294 | 60 |  | RICH_EPICS_Temperature_#2_Lo_Limit | Read/Write | Double | B_DET_RICH_TEMP2_LO | °C
295 | 61 |  | RICH_EPICS_Temperature_#3_Lo_Limit | Read/Write | Double | B_DET_RICH_TEMP3_LO | °C
296 | 62 |  | RICH_EPICS_Temperature_#4_Lo_Limit | Read/Write | Double | B_DET_RICH_TEMP4_LO | °C
297 | 63 |  | RICH_EPICS_Temperature_#5_Lo_Limit | Read/Write | Double | B_DET_RICH_TEMP5_LO | °C
298 | 64 |  | RICH_EPICS_Temperature_#6_Lo_Limit | Read/Write | Double | B_DET_RICH_TEMP6_LO | °C
299 | 65 |  | RICH_EPICS_Temperature_#7_Lo_Limit | Read/Write | Double | B_DET_RICH_TEMP7_LO | °C
300 | 66 |  | RICH_EPICS_Temperature_#8_Lo_Limit | Read/Write | Double | B_DET_RICH_TEMP8_LO | °C
301 | 67 |  | RICH_EPICS_Temperature_#9_Lo_Limit | Read/Write | Double | B_DET_RICH_TEMP9_LO | °C
302 | 68 |  | RICH_EPICS_Temperature_#10_Lo_Limit | Read/Write | Double | B_DET_RICH_TEMP10_LO | °C
303 | 69 |  | RICH_EPICS_Temperature_#11_Lo_Limit | Read/Write | Double | B_DET_RICH_TEMP11_LO | °C
304 | 70 |  | RICH_EPICS_Temperature_#12_Lo_Limit | Read/Write | Double | B_DET_RICH_TEMP12_LO | °C
305 | 71 |  | RICH_EPICS_Temperature_#13_Lo_Limit | Read/Write | Double | B_DET_RICH_TEMP13_LO | °C
306 | 72 |  | RICH_EPICS_Temperature_#14_Lo_Limit | Read/Write | Double | B_DET_RICH_TEMP14_LO | °C
307 | 73 |  | RICH_EPICS_Temperature_#15_Lo_Limit | Read/Write | Double | B_DET_RICH_TEMP15_LO | °C
308 | 74 |  | RICH_EPICS_Temperature_#16_Lo_Limit | Read/Write | Double | B_DET_RICH_TEMP16_LO | °C
309 | 1 | Limit Control Status | RICH_EPICS_Limit_Control | Read/Write | Boolean | B_DET_RICH_INTLK_EPICS_LIMIT_CTRL | N/A
310 | 1 | Hardware Interlock Status | RICH_EPICS_LV_Enable_Status | Read Only | Boolean | B_DET_RICH_INTLK_LV_ENABLE_STAT | N/A
311 | 2 |  | RICH_EPICS_HV_Enable_Status | Read Only | Boolean | B_DET_RICH_INTLK_HV_ENABLE_STAT | N/A
312 | 3 |  | RICH_EPICS_Compressor_Status | Read Only | Boolean | B_DET_RICH_INTLK_COMPR_STAT | N/A
313 | 4 |  | RICH_EPICS_HV-LV_Override_Status | Read Only | Boolean | B_DET_RICH_INTLK_HV-LV_OVERRIDE_STAT | N/A
314 | 1 | Interlock System Status | RICH_EPICS_cRIO_CPU | Read Only | Double | B_HW_CRIO_RICH_CPULOAD | %
315 | 2 |  | RICH_EPICS_cRIO_Heartbeat | Read Only | Boolean | B_HW_CRIO_RICH_HEARTBEAT | N/A
316 | 3 |  | RICH_EPICS_System_Uptime | Read Only | Double | B_HW_CRIO_RICH_UPTIME | hours
317 | 1 | Gas System Status | RICH_EPICS_Air_H2O_PPM_#1 | Read Only | Double | B_DET_RICH_INTLK_AIR_H2O_PPM1 | ppm
318 | 2 |  | RICH_EPICS_N2-ATM_Press_Diff | Read Only | Double | B_DET_RICH_INTLK_N2-ATM_DIFF_PR | IWC
319 | 3 |  | RICH_EPICS_N2-EP_Press_Diff | Read Only | Double | B_DET_RICH_INTLK_N2-EP_DIFF_PR | IWC
320 | 4 |  | RICH_EPICS_N2_Vol_PPM_1 | Read Only | Double | B_DET_RICH_INTLK_N2_VOL_PPM1 | ppm
321 | 5 |  | RICH_EPICS_N2_Panel_Press | Read Only | Double | B_DET_RICH_INTLK_N2_PANEL_PR1 | psi
322 | 6 |  | RICH_EPICS_N2_Backup_PT2 | Read Only | Double | B_DET_RICH_INTLK_N2_BACKUP_PT2 | psi
323 | 7 |  | RICH_EPICS_N2_Backup_PT3 | Read Only | Double | B_DET_RICH_INTLK_N2_BACKUP_PT3 | psi